## Headers
| comes from NRCC | calculated | user entry
First Page Header:
CERTIFICATE OF INSTALLATION |  | NRCI-ELC-E
This Certificate of Installation documents the installation of electrical system features, materials, components, and manufactured devices required to demonstrate compliance with Title 24, Part 6 per §10-103(a)3 for nonresidential, hotel/motel and high-rise residential occupancies. |  |  |  | < language from 10-103(a)3
Project Name: | comes from NRCC | Report Page: | comes from report generator
Project Address: | comes from NRCC | Date Prepared: | comes from report generator
Header for all other pages:
CERTIFICATE OF INSTALLATION |  | NRCI-ELC-E
Project Name: | comes from NRCC | Report Page: | comes from report generator
Project Address: | comes from NRCC | Date Prepared: | comes from report generator

## Table A. General
A. GENERAL INFORMATION
01 | Project Location (city): | A01_ProjectCity | 05 | Authority Having Jurisdiction:
02 | Zip Code: | A02_Zipcode | 06 | Building Permit #:
03 | Date of Permit Set used for construction: |  | 07 | Date of As-built Set:
04 | Name of Permit Set used for construction: |  | 08 | Name of As-built Set:

## Table B. Scope
B. INSTALLER SCOPE
This table indicates the construction systems and materials documented on this Nonresidential Certificate of Installation.
01
□ | Electric Service Meter(s) | □ | Voltage Drop to feeders
□ | Separation of load downstream of meter(s) | □ | Voltage drop to branch circuits
□ | 120V Receptacle (Outlet) Control(s)
This table is for the inspector to be able to see quickly what has been documented on this form. Intention is one form per installer, so if a different installer is doing general lighting vs. decorative/ accent lighting, this will show what is being documented.
Note on B5: 4.15.21 Triggers Electrical Metering sub-table
Note on B6: 4.15.21 Separation of Circuits sub-table
Note on F6: 5.14.21: Both of these trigger the Voltage Drop subtable
Note on B7: 4.15.21 Controlled Receptacle sub-table

## Table C. Compliance
C. COMPLIANCE RESULTS
This table indicates whether the as-built conditions documented in this form are equal or better than what was documented on the permitted Certificate of Compliance. If the installation is not equal or better, Section 10-103(a)2B requires the Certificate of Compliance form to be revised accordingly to demonstrate compliance.
01 | INSTALLED FEATURES EXACTLY MATCH DESIGN ON PERMITTED CERTIFICATE OF COMPLIANCE
Documented as-built conditions should be verified by inspector from Authority Having Jurisdiction to comply.
The Certificate of Compliance should be revised to confirm as-built conditions comply and this Certificate of Installation updated accordingly.
Note on B4: Sally Blair: -IF ANY assemblies/equipment compliance columns in ANY subtables triggered say "INCOMPLETE", this says "FORM NOT COMPLETE" OR - IF ALL assemblies/equipment compliance columns in ALL subtables triggered say "INSTALLED FEATURES EXACTLY MATCH PERMITTED CERTIFICATE OF COMPLIANCE", that is what is shown here. OR - IF ANY assemblies/equipment compliance columns in ANY subtables triggered say "INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED CERTIFICATE OF COMPLIANCE REVISED", that is what is shown here. ELSE - this field says "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE"
Note on A5: Sally Blair: Excel Row 5 triggered if "INSTALLED FEATURES EXACTLY MATCH PERMITTED CERTIFICATE OF COMPLIANCE" OR "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE" is triggered in 01.
Note on A6: Sally Blair: Excel Row 6 triggered if "INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED CERTIFICATE OF COMPLIANCE REVISED" is triggered in 01.

## Table D Exceptional Conditions
D. EXCEPTIONAL CONDITIONS
This table is auto-filled with uneditable comments because of field conditions noted by the installer that may impact requirements documented on the Certificate of Compliance.
Remarks below are triggered from other tables in the NRCI Form and are not editable by the user.
ADD NOTES FOR CONTROL CHANGES
Metering capabilites on the Electrical Metering subtable do not match what was permtted on the Certificate of Compliance. Please verify installation meets metering capability requirements.
Receptacle controls on the Controlled Receptacles subtable do not match what was permtted on the Certificate of Compliance. Please verify installation meets control requirements.
Note on B10: 4.15.21 This note triggers if any of the per NRCC capabilites do not match the as-built capabilites in the Electrical Metering sub-table
Note on B11: 4.15.21 This note triggers if any of the per NRCC capabilites do not match the as-built capabilites in the Electrical Metering sub-table

## Table E. Notes
E. INSTALLER NOTES
This table includes remarks made by the installer to the Authority Having Jurisdiction.

## Table F. Install Details
F. INSTALLATION DETAILS
The following tables indicate performance requirements as documented on the permitted Certificate of Compliance (NRCC) for all systems and components included in Table B. Installer Scope. Also indicated are the as-built conditions documented by the installer/ documentation author.
After this table heading, the appropriate Table F "Subtables" from the other tabs would appear based on what scope the installer is completing the form for.
Example, if they are completing the form for installing receptacle controls, subtable on the "F.Receptacle Controls" tab would appear here.

## F. Electrical Metering
|  |  | From NRCC |  |  | user Input |  | Calculated
Service Electrical Metering
01 |  | 02 | 03 | 04 | 05 | 06 | 07
Electrical Service Designation/ Description |  | 02: Rating (kVA); 03: Required Metering Capabilities; 07: Metering Compliance
|  |  | Instantaneous Demand (kW) | Historical Peak Demand (kW) | Tracking kWh for user-defined period | kWh per rate period
Per NRCC | from NRCC | from NRCC | from NRCC (F03, B02, B04 or B05) | from NRCC (F03, B02, B04 or B05) | from NRCC (F03, B02, B04 or B05) | from NRCC (F03, B02, B04 or B05)
As-built Conditions |  |  | dropdown | dropdown | dropdown | dropdown
1 FOOTNOTES: Service is defined as "the conductors and equipment for delivering electric energy from the serving utility to the wiring system of the premise served" in §100.1 of the Energy Standards.
2 Feeder is defined as "all circuit conductors between the service equipment, the source of a separately derived system, or other power supply source and the final branch-circuit overcurrent device,” in Article 100 of the California Electrical Code.
|  |  | Instantaneous Dropdown | Historical Dropdown | Tracking Dropdown | Per Rate Dropdown
|  |  | Capability provided at service(s)1 | Capability provided at service(s)1 | Capability provided at service(s)1 | Capability provided at service(s)1
|  |  | Capability provided at panel(s) | Capability provided at panel(s) | Capability provided at panel(s) | Capability provided at panel(s)
Gina, do these new dropdown choices work for you? I don't want to do a user entry field because we will likely get junk, and we can't evaluate equal or better from a user entry field anyway. I also added the footnotes from the manual. |  |  | Capability provided at feeder(s)2 | Capability provided at feeder(s)2 | Capability provided at feeder(s)2 | Capability provided at feeder(s)2
|  |  | NA: Utilty Provided Metering System | NA: Utilty Provided Metering System | NA: Utilty Provided Metering System | NA: Utilty Provided Metering System
|  |  | NA: Subject to California Electrical Code Article 517 | NA: Installed kVA <= 250 | NA: Subject to California Electrical Code Article 517 | NA: Installed kVA <= 1,000
|  |  |  | NA: Subject to California Electrical Code Article 517 |  | NA: Subject to California Electrical Code Article 517
Note on A4: 4.15.21 This table triggers if "Electrical Metering" is selected in Table B
Note on D8: Sally Blair: If any NRCC F03 capabilities are applicable to this service, display term here should be "Required". Otherwise, you can use the "NA" display terms in the dropdowns for the other fields from the NRCC.
Note on H8: 4.15.21 If: All fields not gray/blank are not complete 07 = "INCOMPLETE" Else if: 02-06 per NRCC match 02-06 as-built 07 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC" Else If: 02-06 NRCC don't match 02-06 as-built 07 = "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE"

## F.Seperation Of Circuits
Separation of Electrical Circuits for Energy Monitoring
Electrical Service Designation/ Description: |  | from NRCC Table G
01 |  | 02 | 03 | 04
Load Type1 |  | Minimum Required Separation of Load | Separation Method 2 | Compliance
Per NRCC | from NRCC | from NRCC | from NRCC
As-built Conditions |  |  | dropdown
1 FOOTNOTES: For each separate load type, up to 10% of the connected load may be of any type.
2 See Chapter 8 of the Nonresidential Compliance Manual for more detail on Compliance Methods. https://www.energy.ca.gov/media/3881
Gina, what do the dropdowns need to be here to replace the methods? I want to stay away from user entry fields as much as possible because I don't think we'll get much from them. Added the NA choices |  |  | Seperation Method Dropdown
Method 1: Switchboards, motor control centers, or panelboard loads disaggregated for each load type
Method 2: Switchboards/ motor control centers/ panelboard supply other distribution equipment with loads disaggregated for each load type
Method 3: Branch circuits serve load types individually & provisions for adding future branch curcuit monitoring
Method 4: Complete metering system measures and reports loads by type
NA: New or replacement service meter only
NA: Add/Alt to feeders and branch circuits only
NA: System subject to CA Elec Code Article 517
Note on A4: Sally Blair: Each Electrical service designated in the NRCC will need to have it's own section (rows 5-9) in this table.
Note on E7: 4.15.21 If: All fields not gray/blank are not complete 04 = "INCOMPLETE" Else if: 03 per NRCC match 03 as-built 04 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC" Else If: 03 per NRCC does not match 03 as-built 04 = "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE"

## F. Voltage Drop
Feeder and Branch Circuit Conductor Voltage Drop
01 |  | 02 | 03 | 04 | 05 | 06 | 07
Electrical Service Designation/ Description |  | Combined Voltage Drop on Installed Feeder/Branch Circuit Conductors Compliance Method | Voltage Drop Calculations | Voltage Drop to the Feeder(s) (%) | Voltage Drop After the Feeder(s) (%) | Total Voltage Drop (%) | Voltage Drop Compliance
Per NRCC | from NRCC | 02: from NRCC; 03: from NRCC
As-built Conditions |  | 02: dropdown; 03: dropdown; 06: equals 04 + 05
|  | Method Dropdown | Calculation Dropdown
|  | Voltage drop <= 5% | In Construction Documents
|  | Voltage drop > 5% & permitted by CA Electrical Code 647.4, 695.6, 695.7 | Contractor Provided
Gina, we aren't going to be able to combine voltage drops from two different NRCI-ELCs, but if we show it this way, the inspector could see that they are separate installers, and could look to see what the total would be if necessary.
Note on D6: Sally Blair: If NRCC = "In construction documents" OR "Attached" the display term here should be "In Construction Documents"
Note on F6: 5.14.21: NRCC row for columns 04-06 are blank and grey always because we don't collect this info in the NRCC, but want to collect it from the installer.
Note on H6: 4.15.21 If: 02-03 are not complete 07 = "INCOMPLETE" Else if: 02-03 per NRCC match 02-03 as-built 07 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC" Else If: 02-03 per NRCC do not match 02-03 as-built 07 = "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE"

## F. Controlled Receptacles
| From NRCC |  | user Input |  | Calculated
Circuit Controls and Controlled Receptacles
01 |  | 02 | 03 | 04 | 05
Room Name or Description |  | Location/ Type of Controlled Receptacles 1 | Shut-Off Controls | Permanent Durable Marking is Used | Compliance
Per NRCC | from NRCC | from NRCC | from NRCC | from NRCC
As-built Conditions |  | dropdown | dropdown | dropdown
1 FOOTNOTES: Office areas, lobbies, conference rooms, kitchen areas in office spaces, and copy rooms must meet controlled receptacle requirements
|  | Controlled Receptacles Dropdown | Shut-Off Controls | Marking Dropdown
|  | Within 6ft of uncontrolled receptacles | Auto Time-Switch with applicable overrides | Controlled and Uncontrolled Receptacles Identified with Permanent Marking
|  | Split-wired receptacles | Occupancy Sensor | NA: Data Equipment Receptacle
|  | Within 6ft of uncontrolled AND Split-wired receptacles | Occ-sensing Hardwired Power Strip | NA: Circuit > 20 Amperes
|  | 50% are controlled receptacles (hotel/motel room only) | Captive Card Key (hotel only) | NA: Uninteruptivle Power Supply Receptacle
Gina, if we make these select all that apply, the installer can tell us all the methods they're using, and any exceptions that apply in a given room. |  | At each workstation (modular furniture only) | NA: Data Equipment Receptacle | NA: Clock Receptacle >= 6FT Above Floor
|  | NA: Data Equipment Receptacle | NA: Circuit > 20 Amperes | NA: Refrigerator/Water Dispenser Receptacle
|  | NA: Circuit > 20 Amperes | NA: Uninteruptivle Power Supply Receptacle | NA: Healthcare Facility
|  | NA: Uninteruptible Power Supply Receptacle | NA: Clock Receptacle >= 6FT Above Floor
|  | NA: Clock Receptacle >= 6FT Above Floor | NA: Refrigerator/Water Dispenser Receptacle
|  | NA: Refrigerator/Water Dispenser Receptacle | NA: Healthcare Facility
NA: Healthcare Facility
NA: No applicable space types on this service
Note on E7: Sally Blair: Display term can be "Included in Design" if NRCC-ELC I04 is true.
Note on F7: 4.15.21 If: All fields not gray/blank are not complete 05 = "INCOMPLETE" Else if: 02-04 per NRCC match 02-04 as-built 05 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC" Else If: 02-04 per NRCC do not match 02-04 as-built 05 = "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE"
Note on C11: 5.14.21: Let's make all three of these dropdowns "select all that apply". For 2022 NRCC updates, we can make them "select all that apply" on that form too.