## Table Sequence
Label | Table Title | Trigger within:
Table A | General Information | ALWAYS
Table B | Project Scope | ALWAYS
Table C | Compliance Results | ALWAYS
Table D | Exceptional Conditions | ALWAYS
Table E | Additional Remarks | ALWAYS
Table F | Outdoor Lighting Fixture Schedule | Table B
Table G | Cutoff Requirements (BUG) | Table F
Table H | Outdoor Lighting Controls | Table B
Table I | General Hardscape Lighting Power Allowance (per §140.7) | Table B
Table J | Additional Lighting Allowance: Per Application | Table I
Table K | Additional Lighting Allowance: Sales Frontage | Table I
Table L | Additional Lighting Allowance: Ornamental | Table I
Table M | Additional Lighting Allowance: Per Specific Area | Table I
Table N | Reduced Wattage: Existing Conditions Power Allowance (Alterations Only) | Table B
Table O | Declaration of Required Certificates of Installation | ALWAYS
Table P | Declaration of Required Certificates of Acceptance | ALWAYS
- | Signature Page | ALWAYS

## Hyperlinks
Label | Hyperlink | Tables
§110.9 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=127 | 1st page Header
§130.0 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=177 | 1st page Header
§130.2 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=186 | 1st page Header, F, G, H
§140.7 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=241 | 1st page Header, B, C, F, I, J, K, L, M
§141.0(b)2L | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=259 | 1st page Header, B, C, N
Ch. 6 of Nonresidential Compliance Manual | https://www.energy.ca.gov/2018publications/CEC-400-2018-018/CEC-400-2018-018-CMF.pdf#page=409 | Table Tip for Table A
§140.7(d)1 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=242 | C
§140.7(d)2 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=242 | C
§130.2(c)1 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page =186 | H
§130.2(c)2 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=186 | H
§130.2(c)3 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=187 | H
Table 140.7-A | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=243 | I
Table 140.7-B | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=244 | J
Table 140.7-B | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=244 | K
Table 140.7-B | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=244 | L
Table 140.7-B | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=244 | M
§141.0(b)2Lii | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=259 | N
§141.0(b)2Liii | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=260 | N
NRCI location on CEC website | https://www.energy.ca.gov/title24/2019standards/2019_compliance_documents/Nonresidential_Documents/NRCI/ | O
Note on B13: Rebecca Rice: 2019 update: All hyperlinks updated to 2019 Standards

## Headers
| User input | auto calculated | From another Table |  | From look up table
STATE OF CALIFORNIA
Outdoor Lighting
NRCC-LTO-E (Created XX/XX) |  |  |  | CALIFORNIA ENERGY COMMISSION
CERTIFICATE OF COMPLIANCE |  |  |  |  | NRCC-LTO-E
This document is used to demonstrate compliance with requirements in §110.9, §130.0, §130.2, §140.7, and §141.0(b)2L for outdoor lighting scopes using the prescriptive path.
Project Name: |  |  |  | Report Page: | Page 1 of ??
Project Address: |  |  |  | Date Prepared:
This is a heading. The project name, address and date prepared should be a user input on the first page, but that should populate the heading on all other pages.
STATE OF CALIFORNIA
Outdoor Lighting
NRCC-LTO-E (Created XX/XX) |  |  |  | CALIFORNIA ENERGY COMMISSION
CERTIFICATE OF COMPLIANCE |  |  |  |  | NRCC-LTO-E
Project Name: |  |  |  | Report Page: | Page 1 of ??
Project Address: |  |  |  | Date Prepared:
Please use the same footer as the LTI form.
First Page Heading
Heading all other pages

## A. General Info
|  | User input | auto calculated |  |  |  | From another Table | From look up table
A. GENERAL INFORMATION
01 | Project Location (city) |  |  |  | 04 | Total Illuminated Hardscape Area (ft2)
02 | Climate Zone
03 | Outdoor Lighting Zone per Title 24, Part 1 §10-114 or as designated by Authority Having Jurisdiction (AHJ):
¨ | LZ-0: Very Low- Undeveloped Parkland |  | ¨ | LZ-2: Moderate- Rural Areas | ¨ | LZ-4: High-Must be reviewed by CA Energy Commission for Approval
¨ | LZ-1: Low- Developed Parkland |  | ¨ | LZ-3: Moderately High- Urban Areas
Table Tip:
Chapter 6 of the Nonresidential Compliance Manual provides more guidance on selecting the appropriate outdoor lighting zone.
Note on J4: Sally Blair: is used in Table L if Table L is applicable.
Note on B6: Sally Blair: set values in Table G and also Initial Wattage Allowance for Entire Site in Table I. Also affects which "Use it or Lose It" Allowances available in Table I.
Note on G7: Sally Blair: triggers note on Row 13 of Table D tab

## B. Project Scope
|  | User input |  | auto calculated |  |  | From another Table |  | From look up table
B. PROJECT SCOPE
Table Instructions: Include any outdoor lighting systems that are within the scope of the permit application and are demonstrating compliance using the prescriptive path outlined in §140.7 or §141.0(b)2L for alterations.
My project consists of:
01 |  |  | 02
¨ | New Lighting System |  | Must Comply with Allowances from §140.7.
¨ | Altered Lighting System |  | Is your alteration increasing the connected lighting load (Watts)? |  |  | o Yes | o No
03 |  |  |  | 04 | 05
% of Existing Luminaires Being Altered1 |  |  |  | Sum Total of Luminaires Being Added or Altered | Calculation Method
o < 10% |  | o ≥ 10% and < 50% | o ≥ 50% |  | Dropdown, see below for list (custom)
STOP! Outdoor lighting projects modifying less than 5 luminaires, or less than 10% of existing luminaires do not require compliance documentation provided that they do not increase the total connected lighting load.
Please proceed to Table F. Outdoor Lighting Fixture Schedule to define the project's luminaires.
1 FOOTNOTES: % of Existing Luminaires Being Altered = (Sum Total of Luminaires Being Added or Altered / Existing Luminaires within the Scope of the Permit Application) x 100
|  |  |  | This is the dropdown if > 50% is clicked in column 03 >> | Calculation Method Dropdown
[5 empty] | Calculated Allowance per §140.7 |  |  | << triggers Table I.
[5 empty] | 40% Reduced Wattage Exception per §141.0(b)2L |  |  | << triggers Table N.
|  |  |  | This is the dropdown if "> 10% and < 50%" or "<10%" is clicked in column 03 >> | Calculation Method Dropdown
[5 empty] | Calculated Allowance per §140.7 |  |  | << triggers Table I.
[5 empty] | Maintain Existing Power Method per §141.0(b)2L |  |  | << triggers Table N.
Table Tip:
Project Scope must be defined before other sections of the NRCC-LTO will expand for user input. Check the boxes for "New Lighting System" or "Altered Lighting System" to get started. Applicable tables within the form will expand for user input based on your selections. New lighting systems and alterations which increase the connected lighting load must comply with Allowances in §140.7.
Row 12 shows up if column 04 <5 OR column 03 is <10%.
Get rid of this trigger.
Row 13 shows up if "New Lighting System" is selected, or if Altered Lighting System column 02 is "Yes"
Note on A6: Sally Blair: can select New or Altered, but not both.
Note on A7: Sally Blair: triggers Table F/H/I.
Note on A8: Sally Blair: triggers Tables F/H. Usability Update: Only triggers Table F.
Note on H8: Sally Blair: If the user clicks Y, Table I is triggered because they have to comply w Allowance per S140.7. This also trigger the note in row 13 directing the user to proceed to Table F to input fixtures. Usability Update: This would also trigger Table H.
Note on I8: Sally Blair: If user clicks N, rows 9-11 are triggered to get more info on scope.
Note on A10: Sally Blair: Determines allowance in Table N.
Note on C11: Usability Update: This checkbox triggers Table H if col 04 > 5. So does the "> 50%" checkbox if col 04 > 5.
Note on A12: Usability Update: Got rid of this note & associated trigger.
Note on F18: Usability Update: Revised text, but still triggers Table N.
Note on F21: Usability Update: Only choice here will be "Maintain Existing Power Method per.."

## C. Compliance
| User input |  |  | auto calculated |  |  |  | From another Table |  |  |  | From look up table
C. COMPLIANCE RESULTS
Table Instructions: If any cell on this table says "DOES NOT COMPLY" or "COMPLIES with Exceptional Conditions" refer to Table D. for guidance.
Calculation of Total Allowed Lighting Power (Watts) §140.7 or §141.0(b)2L | [11 empty] | Compliance Results
01 | + | 02 | + | 03 | + | 04 | + | 05 | OR | 06 | = | 07 | > | 08 | 09
General Hardscape Allowance §140.7(d)1 |  | Per Application §140.7(d)2 |  | Sales Frontage §140.7(d)2 |  | Ornamental §140.7(d)2 |  | Per Specific Area §140.7(d)2 |  | Existing Power Allowance §141.0(b)2L |  | Total Allowed (Watts) |  | Total Actual (Watts) | 07 Must be > 08
(See Table I) |  | (See Table J) |  | (See Table K) |  | (See Table L) |  | (See Table M) |  | (See Table N) |  |  |  | (See Table F)
| + | sum of column 10 (J10) | + | sum of column 09 (K09) | + | sum of column 09 (L09) | + | sum of column 10 (M10) | OR | 0 | = | #VALUE! | > | sum of column 08 | COMPLIES or DOES NOT COMPLY
Cutoff Compliance (See Table G for Details) | [14 empty] | "COMPLIES" or "DOES NOT COMPLY" or "Not Applicable"
Controls Compliance (See Table H for Details) | [14 empty] | "COMPLIES with Exceptional Conditions" or "COMPLIES" or "DOES NOT COMPLY"
Tool Tip:
Table C is auto-filled from data found in the rest of the NRCC-LTO, and it may not be directly edited by the form user. Table C compliance results are automatically calculated from data input and calculations in Tables F through N.
Note on A10: 2019 Update: = Total General Hardscape Allowance in Table I, cell depends on which table is triggered.
Note on I10: Sally Blair: Gray out any of these cells that do not hold a value
Note on P10: Sally Blair: Says "COMPLIES" if 07 >= 08, otherwise says "DOES NOT COMPLY"
Note on P11: 2019 UPdate: If G04 > G05 and G07 > G08 and G10 > G11, then this says "Complies", otherwise, if Table G is triggered, it will say "DOES NOT COMPLY". If Table G is not triggered, it says "Not Applicable" (and turns grey like on LTI)
Note on P12: 2019 Update: If columns 02-04 are filled out in Table H, this says "COMPLIES". If notes are used "COMPLIES with Exceptional Conditions". If notes are triggered but not filled out, or if all columns in all rows are not filled out "DOES NOT COMPLY". If a row is added then deleted, and all other rows are completed, should say "COMPLIES".

## D. Exceptional Conditions
| User input | auto calculated | From another Table | From look up table
D. EXCEPTIONAL CONDITIONS
This table is auto-filled with uneditable comments because of selections made or data entered in tables throughout the form.
Comment:
The * conditions in the controls table H need to show up here. Here is the note that should show up in Table D- "Table H. indicates a control requiring a note describing the compliance approach, but no notes have been entered."
The note about making changes in the NRCI/NRCA tables need to show up. Note Table letters will need to be updated to match this form.
If in Table F column 03 is > 150 but the user has not selected anything in column 09, this error appears "Al uminaire in Table F maybe required to comply with Cutoff Requirements, but nothing has been selected in Table F. Column 09."
If LZ4 is selected in Table A, this note appears "Table A indicates LZ-4 as the lighting zone for this project. This designation requires approval by the CA Energy Commission."
Add a check for Table A column 04 and the sum of all rows in Table I column 03- but this only applies if Table I is triggered. If these numbers don't match, we'll need a note in Table D: "Total Hardscape Area in Table A does not match the areas entered in Table I. Please review for compliance."
Here is the not that should show up in Table D if the * Note in Table F is not entered by the user: "Table D. indicates a dropdown selection with a * requiring a note describing the compliance approach, but no notes have been entered."
Here is the not that should show up in Table D if the * Note in Table N is not entered by the user: "Table N. indicates a dropdown selection with a * requiring a note describing the compliance approach, but no notes have been entered."
If "Linear" checkbox is checked for any fixture in Table F column 02, trigger this note: "Linear lighting has been indicated on Table F. For these luminaires, wattage reported in F03 is in “W/lf” and Total Number Luminaires reported in F05 indicates total linear feet (lf) of that luminaire type.”
Table Tip:
Table D is auto-filled with warnings and compliance notes directed to the form user and the enforcement agency based on data inputs and calculations in the rest of the NRCC-LTO. It may not be directly edited by the form user.
Note on B11: Rebecca Rice: Remove this error message in Table F

## E. Additional Remarks
| User input | auto calculated | From another Table | From look up table
E. ADDITIONAL REMARKS
This table includes remarks made by the permit applicant to the Authority Having Jurisdiction.
Table Tip:
Table E allows user input of additional information to support the compliance documentation.

## F. Lighting Schedule
| User input |  | auto calculated |  |  | From another Table |  |  |  | From look up table
F. OUTDOOR LIGHTING FIXTURE SCHEDULE
Table Instructions: For new or altered lighting systems demonstrating compliance with §140.7 (ie Table I has expanded for input), include all luminaires being installed and any existing luminaires remaining or being moved within the spaces covered by the permit application in the Table below. For altered lighting systems using the Existing Power method per §141.0(b)2L (ie Table N has expanded for input), include only new luminaires being installed and replacement luminaires being installed as part of the project scope (ie, do not include existing luminaires remaining or existing luminaires being moved).
Designed Wattage:
01 | 02 |  | 03 | 04 | 05 |  | 06 | 07 | 08 | 09 | 10
Name or Item Tag | Complete Luminaire Description |  | Watts per luminaire1, 2 | How Wattage is Determined | Total Number Luminaires2 |  | Luminaire Status3 | Excluded per §140.7(a) | Design Watts | Cutoff Req. ≥ 6,200 initial lumen output §130.2(b)4 | Field Inspector
[11 empty] | Pass | Fail
|  | o Linear |  | Dropdown, See below for list. |  |  | Dropdown, See below for list. | o |  | Dropdown, See below for list. | o | o
[8 empty] | Total Designed Watts: | sum of column 08
* NOTES: Selections with a * require a note in the space below explaining how compliance is achieved.
EX: Luminaire is lighting a statue; EXCEPTION 2 to §130.2(b).
If the users select options with a *, the Name or Item Tag (uneditable) should show up in Notes section. If users unselect options with a *, the note should dissapear. | This box should work just like the one on the indoor lighting form except the text in the notes box when it's triggered should read "Explain here why item with asterisk complies"
1 FOOTNOTES: Authority Having Jurisdiction may ask for Luminaire cut sheets to confirm wattage used for compliance per §130.0(c). | [9 empty] | Reset | Add Row | Remove Last
2 For linear luminaires, wattage should be indicated as W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 05 instead of number of luminaires.
3 Select “New” for new luminaires in a new outdoor lighting project or for added luminaires in an alteration. Select “Altered” for replacement luminaires in an alteration. Select “Existing to Remain” for existing luminaires within the project scope that are not being altered and are remaining. Select “Existing Reinstalled” for existing luminaires which are being removed and reinstalled as part of the project scope
4 Compliance with mandatory cutoff requirements is required for luminaires with initial lumen output ≥ 6,200 unless exempted by §130.2(b).
|  |  |  | How Wattage is Determined Dropdown |  |  | Luminaire Status Dropdown |  |  | Cutoff Req. ≥ 6,200 initial lumen output §130.2(b)3
|  |  |  | NA8 Default |  |  | New |  |  | Yes | << triggers Table G.
|  |  |  | Mfr. Spec1 |  |  | Altered |  |  | NA: <6,200 lumens
|  |  |  | Other* |  |  | Exist. Remain |  |  | Exempt*
Exist. Reinstalled
Table Tip:
Table F is used to calculate Total Designed Watts for Table C. In order to add a fixture, the name or item tag must be completed first. Then enter the type, wattage, and number of installed luminaires. Identify any luminaires that are deemed to be excluded from Actual Lighting Power per §140.7(a).
Note on C9: 2019 UPDATE: if checked in ANY row, trigger note in row 16 on Table D.
Note on K9: Sally Blair: If checked, column 08 blanks and greys out
Note on M9: Sally Blair: cell greys out if column column 06 is "Exist. Remain" or "Exist. Reinstall"
Note on J19: Sally Blair: If Table B column 01 says "New Lighitng System" the only choice in this dropdown should be "new" If Table B column 05 says "Reduced Existing Power Method" OR "Maintain Existing Power Method" the only choices for this dropdown should be "New" and "Altered". If Table B column 05 says "Calculated ALlowance per S140.7" all 4 choices here will be in dropdown.
Note on M22: Sally Blair: Added this per a schema question from Diane on 2.21.19

## G. BUG
| User input | [6 empty] | auto calculated |  |  | From another Table |  | From look up table
G. CUTOFF REQUIREMENTS (BUG)
Table Instructions: Complete this table for fixtures of ≥ 6,200 initial luminaire lumens indicated on Table F as needing to comply with Cutoff Requirements. Maximum lumens can be found in Title 24, Part 11, Section 5.106.8 .
01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12
Name or Item Tag | Complete Luminaire Description | Backlight Rating2 |  |  | Uplight Rating 2 |  |  | Glare Rating2 |  |  | Field Inspector
|  | Mounting Height from Property Line1 | Max Allowable Backlight Rating3 | Backlight Rating Per Design | Lighting Type | Max Allowable Uplight Rating3 | Uplight Rating Per Design | Mounting Height from Property Line1 | Max Allowable Glare Rating3 | Glare Rating Per Design | Pass | Fail
(autofill from Table F) | (autofill from Table F) | [9 empty] | o | o
1 FOOTNOTES: Mounting Height is labeled MH in this table | [11 empty] | Reset
2 Authority having jurisdiction may ask for luminaire cut sheets or other documentation to confirm luminaire type, backlight, uplight,and glare ratings used for compliance per §130.2(b).
3 BUG ratings with a lower number than the 'Max Allowable' are compliant. Ex. If Max Allowable is Bug Rating is B4, then B0, B1, B2, B3 and B4 are all compliant.
|  | Mounting Height drop down |  |  | dropdown |  |  | Mounting Height drop down
|  | > 2 MH from property line |  |  | Area Lighting |  |  | > 2 MH from property line
|  | Back hemisphere 1-2 MH from prop line |  |  | All Other (including decorative) |  |  | Front hemisphere 1-2 MH from prop line
|  | Back hemisphere 0.5-1 MH from prop line | [5 empty] | Front hemisphere 0.5-1 MH from prop line
|  | Back hemisphere < 0.5 MH from prop line | [5 empty] | Back hemisphere < 0.5 MH from prop line
Table Tip:
Luminaires indicated in Table F. as having ≥ 6,200 initial luminaire lumens and not exempted under §130.2(b) are automatically listed in Table G. Complete Table G. to show compliance with cutoff requirements for each luminaire listed.
Luminaires with "Yes" in Table F. column 09 must be transferred to Table G.
Note on C7: Usability Update: Added "from Property Line"
Note on L7: Usability Update: Added "from Property Line"
Note on Q12: Rebecca Rice: 2019: This is a new table format to match new BUG requirements
Note on C14: Rebecca Rice: 2019: Depending on selection made, Max Allowable ratings from Table 5.106.8 will autopopulate, based on LZ entered in Table A.
Note on H14: Rebecca Rice: 2019: Depending on selection made, Max Allowable ratings from Table 5.106.8 will autopopulate, based on LZ entered in Table A.
Note on L14: Rebecca Rice: 2019: Depending on selection made, Max Allowable ratings from Table 5.106.8 will autopopulate, based on LZ entered in Table A.

## H. Lighting Controls
| User input | auto calculated |  | From another Table |  | From look up table
H. OUTDOOR LIGHTING CONTROLS
Table Instructions: Complete this table demonstrating compliance with controls requirements for all new or altered luminaires installed as part of the permit application. For alteration projects, luminaires which are existing to remain (ie untouched) and luminaires which are removed and reinstalled (wiring only) do not need to be included in this table even if they are within the spaces covered by the permit application. When an option having a * is selected, the notes section of this table must be completed. The lighting controls section of the Compliance Summary Table on the first page will show "DOES NOT COMPLY" if the notes are left blank. For each requirement in columns 02 through 04, do not leave the field blank, instead select NA or Exempt* from the dropdown list to indicate not applicable or an exemption.
Mandatory Controls
01 | 02 |  |  |  | 03 |  | 04 |  | 05
Area Description | Shut-Off |  |  |  | Auto-Schedule |  | Motion Sensor |  | Field Inspector
| §130.2(c)1 |  |  |  | §130.2(c)2 |  | §130.2(c)3 |  | Pass | Fail
| See dropdown |  |  |  | See dropdown |  | See dropdown |  | o | o
* NOTES: Controls with a * require a note in the space below explaining how compliance is achieved.
EX: Not permitted by health & safety to be turned off; EXCEPTION 1 to §130.2(c).
If the users select options with a *, the Area Description (uneditable) should show up in Notes section. If users unselect options with a *, the note should dissapear. | This box should work just like the one on the indoor lighting form except the text in the notes box when it's triggered should read "Explain here why item with asterisk complies"
[8 empty] | Reset | Add Row | Remove Last
| Shutoff Dropdown |  | Auto-schedule Dropdown |  | Motion Sensor Dropdown
| Photocontrol |  | Yes |  | Yes |  | Li
| Astronomical Timer |  | Yes-EMCS |  | NA: Façade, etc. ≤ 24ft
| Exempt* |  | Exempt* |  | NA: Wall ≤ 24ft
| Other* |  |  |  | Exempt*
Table Tip:
Table H. is required to show compliance for mandatory outdoor lighting controls for all new lighting systems, and for all altered lighting systems. Define lighting control types to be installed in each area, or group similar areas with the same controls. The notes that you type in Table H. will be copied to Table D. as exceptional conditions for compliance.

## I. Allowance General
| User input |  | auto calculated |  |  |  | From another Table |  |  | From look up table
I. LIGHTING POWER ALLOWANCE (per §140.7)
Table Instructions: Please complete this table for areas using the allowance calculations per §140.7. General Hardscape Allowance is per Table 140.7-A while "Use it or lost it" Allowances are per Table 140.7-B. Indicate which allowances are being used to expand sections for user input. Luminaires that qualify for one of the "Use it or lose it" allowances shall not qualify for another "Use it or lose it" allowance. |  |  |  | 01
|  |  |  | ¨ General Hardscape Allowance | "Use it or lose it" Allowances (select all that apply)
[5 empty] | ¨ Per Application | ¨ Sales Frontage | ¨ Ornamental | ¨ Per Specific Area
|  |  |  | Table I (below) | Table J | Table K | Table L | Table M
Calculated General Hardscape Lighting Power Allowance per Table 140.7-A (LZ 0, 1 & 4)
02 |  | 03 | 04 | 05 | 06 | 07 | 08 | 09
Area Description |  | 03: Area Wattage Allowance (AWA); 06: Linear Wattage Allowance (LWA); 09: Total General AWA + LWA (Watts)
|  | Illuminated Area (ft2) | Allowed Density (W/ft2) | Area Allowance (Watts) | Perimeter Length (lf) | Allowed Density (W/lf) | Linear Allowance (Watts)
|  |  |  | 0 |  |  | 0 | 0
[6 empty] | Reset | Add Row | Remove Last
Initial Wattage Allowance for Entire Site (Watts):
|  |  |  | Total General Hardscape Allowance (Watts): |  |  |  | 0
Calculated General Hardscape Lighting Power Allowance per Table 140.7-A (LZ 2 & 3)
02 |  | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10
Area Description |  | 03: Surface Type; 04: Area Wattage Allowance (AWA); 07: Linear Wattage Allowance (LWA); 10: Total General AWA + LWA (Watts)
|  |  | Illuminated Area (ft2) | Allowed Density (W/ft2) | Area Allowance (Watts) | Perimeter Length (lf) | Allowed Density (W/lf) | Linear Allowance (Watts)
|  | dropdown |  |  | 0 |  |  | 0 | 0
[7 empty] | Reset | Add Row | Remove Last
Initial Wattage Allowance for Entire Site (Watts):
[8 empty] | Total General Hardscape Allowance (Watts): | 0
Table Tip:
Table I. is used to calculated the General Hardscape Power (Watts) for compliance and the results are automatically transferred to Table C. Input an area description and illuminated area for each space or group of similar spaces. Check the appropriate box under "Use it or lose it" Allowances to expand Tables J, K, L or M and calculate those allowances.
Surface Typ Dropdown
Concrete
Asphalt
Note on F5: Sally Blair: This will trigger rows 9-16 in this table to expand for user input.
Note on G6: Benjamin Park: "Per Application" triggers Table J. "Sales Frontage" triggers Table K. "Ornamental" triggers Table L. "Per Specific Area" triggers Table M.
Note on J6: Sally Blair: These will grey out based on the LZ selected in Table A. For LZ0- all except general allowance grey out. For LZ1, Sales Frontage and Ornamental grey out.
Note on A9: Rebecca Rice: 2019: this Table opens when LZ 0, 1 or 4 is selected in Table A. If LZ 2 or 3 are selected in Table A, open table below.
Note on E12: Rebecca Rice: 2019: This needs to be updated based on new Table 140.7-A (included to the right). Needs to now include the breakout between asphalt and concrete for LZ 2 & 3.
Note on H12: Rebecca Rice: 2019: This needs to be updated based on new Table 140.7-A. Needs to now include the breakout between asphalt and concrete for LZ 2 & 3.
Note on E13: Sally Blair: This can be populated by Table 140.7-A based on LZ specified in Table A of this form.
Note on H13: Sally Blair: This can be populated by Table 140.7-A based on LZ specified in Table A of this form.
Note on J15: Sally Blair: This can be populated by Table 140.7-A based on LZ specified in Table A of this form. For LZ0, it's 15Watts according to the footnote. Please note, this does not populate if "General Hardscape Allowance" isn't checked above. Usability Update: This needs to be updated based on list below by lighting zone selected in Table A column 03. Also needs to blank out & turn grey if "Altered Lighting System" is checked in Table B column 01 (this is new for 2019). LZ 0: 15 LZ 1: 180 LZ 2: 250 LZ 3: 350 LZ 4: 400
Note on A18: Rebecca Rice: 2019: this Table opens when LZ 2 or LZ 3 is selected in Table A.
Note on D20: 2019 Update: Added for 2019
Note on F22: 2019 Update: This can be populated by Table 140.7-A based on LZ specified in Table A & surface type from column 03. See Table 140.7-A pasted in column N for values to populate.
Note on I22: 2019 Update: This can be populated by Table 140.7-A based on LZ specified in Table A & surface type from column 03. See Table 140.7-A pasted in column N for values to populate.
Note on K24: Sally Blair: This can be populated by Table 140.7-A based on LZ specified in Table A of this form. For LZ0, it's 15Watts according to the footnote. Please note, this does not populate if "General Hardscape Allowance" isn't checked above. Usability Update: This needs to be updated based on list below by lighting zone selected in Table A column 03. Also needs to blank out & turn grey if "Altered Lighting System" is checked in Table B column 01 (this is new for 2019). LZ 0: 15 LZ 1: 180 LZ 2: 250 LZ 3: 350 LZ 4: 400

## J. Per Application
|  | User input |  | auto calculated |  |  |  | From another Table |  | From look up table
J. LIGHTING ALLOWANCE: PER APPLICATION
Table Instructions: Please complete this table for areas using the wattage allowance per application from Table-140.7-B.
01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10
Area Description | Application per Table 140.7-B1 | CALCULATED ALLOWANCE (Watts) |  |  | DESIGN WATTS |  |  |  | Additional Allowance (Watts)
|  | # of Locations | Allowance per Location (Watts)2 | Extra Allowance (Watts) | Luminaire Name or Item Tag | Watts per Luminaire3 | # of Luminaires3 | Design Watts
| Dropdown, see below for list |  | See Table 140.7-B | #VALUE! | Dropdown from Table F. | From table F. |  | #VALUE!
[5 empty] | Dropdown from Table F. | From table F. |  | #VALUE!
|  |  |  | Total Design Watts for this Area: |  |  |  | sum of column 09 for the area | smaller of J04 or total design watts for area (J09)
1 FOOTNOTES: Primary entrance applications are only available for senior care facilities, healthcare facilities, police stations, hospitals, fire stations, and emergency vehicle facilities. | [7 empty] | Add Luminaire | Remove Last
2 The Allowance per Location for ATMs is 100W for the first ATM and 35W for each additional per Table 140.7-B. | [7 empty] | Total Allowance (Watts) All Areas: | sum of column 10 (J10)
3 For luminaires indicated in Table F as linear, wattage in column 07 is W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 08 instead of number of luminaires. | [6 empty] | Reset | Add Row | Remove Last
Application per Table 140.7-B dropdown
Bldg Entrance/ Exit
Primary Entrance (Special)
Drive up Window
Uncovered Fuel Dispenser
ATM Machine
Table Tip:
Table J expands if the allowance is indicated on Table I. Results are automatically transferred to Table C.
Note on D8: Rebecca Rice: 2019: lookup tables will need to be revised per new data in Table 140.7-B (watts for each application are all different now)
Note on J9: Sally Blair: Row 9 is what it looks like if "Add Luminaire" button is used.
Note on I11: Sally Blair: Add luminaires to calculate design watts, but can't add more calculated allowance.

## K. Sales Frontage
| User input |  | auto calculated |  |  |  | From another Table |  | From look up table
K. LIGHTING ALLOWANCE: SALES FRONTAGE
Table Instructions: Please complete this table for areas using the wattage allowance for Outdoor Sales Frontage from Table-140.7-B. This allowance may be used for one or two frontage side(s) per site.
01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09
Area Description | CALCULATED ALLOWANCE (Watts) |  |  | DESIGN WATTS |  |  |  | Additional Allowance (Watts)
| Linear ft. of Sales Frontage (lf) | Allowed Density (W/lf) | Extra Allowance (Watts) | Luminaire Name or Item Tag | Watts per Luminaire1 | # of Luminaires1 | Design Watts
|  | See Table 140.7-B | #VALUE! | Dropdown from Table F. | From table F. |  | #VALUE!
|  |  |  | Dropdown from Table F. | From table F. |  | #VALUE!
1 FOOTNOTES: For luminaires indicated in Table F as linear, wattage in column 06 is W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 07 instead of number of luminaires. |  |  |  | Total Design Watts for this Area: |  |  | sum of column 08 for the area | smaller of K04 or total design watts for area (K08)
[7 empty] | Add Luminaire | Remove Last
[7 empty] | Total Allowance (Watts) All Areas: | sum of column 09 (K09)
[6 empty] | Reset | Add Row | Remove Last
Table Tip:
Table K expands if the allowance is indicated on Table I. Results are automatically transferred to Table C.
Note on C8: Rebecca Rice: 2019: lookup tables will need to be revised per new data in Table 140.7-B (watts for each application are all different now)
Note on I9: Sally Blair: This is what it looks like if "Add Luminaire" button is used.
Note on H11: Sally Blair: Add luminaires to calculate design watts, but can't add more calculated allowance.

## L. Ornamental
| User input |  | auto calculated |  |  |  | From another Table |  | From look up table
L. LIGHTING ALLOWANCE: ORNAMENTAL
Table Instructions: Please complete this table showing all ornamental luminaires within the scope of the permit application to calculate the allowance per Table 140.7-B.
01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09
Area Description | CALCULATED ALLOWANCE (Watts) |  |  | DESIGN WATTS |  |  |  | Additional Allowance (Watts)
| Illuminated Area (ft2) | Allowed Density (W/ft2) | Extra Allowance (Watts) | Luminaire Name or Item Tag | Watts per Luminaire1,2 | # of Luminaires2 | Design Watts
Total Illuminated Hardscape Area for the Site | #VALUE! | See Table 140.7-B | #VALUE! | Dropdown from Table F. | From table F. |  | #VALUE!
|  |  |  | Dropdown from Table F. | From table F. |  | #VALUE!
|  |  | Total Design Watts for this Area: |  |  |  | sum of column 08 for the area | smaller of L04 or L08
[7 empty] | Add Luminaire | Remove Last
[7 empty] | Total Allowance (Watts) Ornamental: | sum of column 09 (L09)
1 FOOTNOTES: Luminaires qualifying for this allowance shall be rated < 100W and shall be post-top luminaires, lanterns, pendants or chandeliers. | [7 empty] | Reset
2 For luminaires indicated in Table F as linear, wattage in column 06 is W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 07 instead of number of luminaires.
Table Tip:
Please complete this table showing all ornamental luminaires within the scope of the permit application to calculate the allowance per Table 140.7-B.
Note on C8: Rebecca Rice: 2019: lookup tables will need to be revised per new data in Table 140.7-B (watts for each application are all different now)
Note on I9: Sally Blair: What it looks like if "Add Luminaire" button is used.
Note on H11: Sally Blair: Add luminaires to calculate design watts, but can't add more calculated allowance.

## M. Per Specific Area
|  | User input |  | auto calculated |  |  |  | From another Table |  | From look up table
M. LIGHTING ALLOWANCE: PER SPECIFIC AREA
Table Instructions: Please complete this table for areas using the wattage allowance per specific area type from Table 140.7-B. More than one specific area allowance may be taken in a single project, if applicable. However, multiple specific area allowances may not be taken for the exact same area on the site.
01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10
Area Description | Specific Area Type per Table 140.7-B | CALCULATED ALLOWANCE (Watts) |  |  | DESIGN WATTS |  |  |  | Additional Allowance (Watts)
|  | Specific Area (ft2)1 | Allowed Density (W/ft2) | Extra Allowance (Watts) | Luminaire Name or Item Tag | Watts per Luminaire2 | # of Luminaires2 | Design Watts
| Dropdown, see below for list |  | See Table 140.7-B | #VALUE! | Dropdown from Table F. | From table F. |  | #VALUE!
[5 empty] | Dropdown from Table F. | From table F. |  | #VALUE!
1 FOOTNOTES: See Table 140.7-B for the rules for calculating the specific areas (ft2) for these additional lighting allowances. |  |  |  | Total Design Watts for this Area: |  |  |  | sum of column 09 for the area | smaller of M04 or total design watts for area (M09)
2 For luminaires indicated in Table F as linear, wattage in column 07 is W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 08 instead of number of luminaires. | [7 empty] | Add Luminaire | Remove Last
[8 empty] | Total Allowance (Watts) All Areas: | sum of column 10 (M10)
[7 empty] | Reset | Add Row | Remove Last
Spec. Area per Table 140.7-B dropdown
does not show up for LZ1>> | Bldg Façade
Outdoor Sales Lot
Service Station Hardscape
Service Station Canopy
does not show up for LZ1>> | Sales Canopies
Non-sales Canopies/ Tunnels
Guard Stations
does not show up for LZ1 or LZ4>> | Student Pick-up/ Drop-off
Outdoor Dining
does not show up for LZ4>> | Security for Retail Parking & Pedestrian Hardscape
Table Tip:
Table M expands if the allowance is indicated on Table I. Results are automatically transferred to Table C.
Note on D8: Rebecca Rice: 2019: lookup tables will need to be revised per new data in Table 140.7-B (watts for each application are all different now)
Note on J9: Sally Blair: What it looks like when "Add Luminaire" button is used
Note on I11: Sally Blair: Add luminaires to calculate design watts, but can't add more calculated allowance.
Note on B14: Sally Blair: This list actually needs to customize for LZ1 and LZ4.

## N. Exist. Cond.
| User input |  | auto calculated |  |  | From another Table |  |  | From look up table
N. EXISTING CONDITIONS POWER ALLOWANCE (alterations only)
Table Instructions: Include all existing luminaires being replaced to establish the lighting power allowance per §141.0(b)2Lii or §141.0(b)2Liii. Existing luminaires that are remaining or being moved should NOT be included. | [9 empty] | No changes for 2019
Existing Conditions Wattage:
01 | 02 | 03 |  | 04 | 05 |  | 06 | 07
Name or Item Tag | Complete Luminaire Description | Watts per luminaire1,2 |  | How Wattage is Determined | # of Luminaires Being Replaced2 |  | Existing Watts | Field Inspector
[8 empty] | Pass | Fail
|  |  |  | Dropdown, See below for list. |  |  | 0 | o | o
[6 empty] | Total Existing Watts : | sum of column 06 (N06)
Allowance per §141.0(b)2L:
* NOTES: Selections with a * require a note in the space below explaining how compliance is achieved.
EX: Photograph of existing luminaire
If the users select options with a *, the Name or Item Tag (uneditable) should show up in Notes section. If users unselect options with a *, the note should dissapear. | This box should work just like the one on the indoor lighting form except the text in the notes box when it's triggered should read "Explain here why item with asterisk complies"
1 FOOTNOTES: Authority Having Jurisdiction may ask for Luminaire cut sheets to confirm wattage used for compliance per §130.0(c) | [6 empty] | Reset | Add Row | Remove Last
2 For linear luminaires, wattage should be indicated as W/lf instead of Watts/luminaire. Total linear feet for the luminaire should be indicated in column 05 instead of number of luminaires.
How Wattage is Determined Dropdown
NA8 Default
Mfr. Spec1
Other*
Table Tip:
Table N is used to calculate compliance with lighting power requirements for alterations that do not increase connected lighting load (Watts). For projects that are altering between 10% and 50% of the luminaires, the allowance is equal to wattage of existing luminaires. Projects which alter 50% or more of existing luminaires must reduce wattage by 40%. This means the allowances is 60% of the wattage of existing luminaires.
Note on J11: Sally Blair: If Table B column 03 has ">=10% and <50%" clicked, this cell = Total Existing Watts. If Table B column 03 has ">=50%%" clicked, this cell = Total Existing Watts x 0.60. This # transfers to Table C.

## O. NRCI
| User input |  |  | auto calculated | From another Table | From look up table
O. DECLARATION OF REQUIRED CERTIFICATES OF INSTALLATION
Table Instructions: Selections have been made based on information provided in previous tables of this document. If any selection needs to be changed, please explain why in Table E. Additional Remarks. These documents must be provided to the building inspector during construction and can be found online at https://www.energy.ca.gov/title24/2019standards/2019_compliance_documents/Nonresidential_Documents/NRCI/
YES | NO | Form/Title | Field Inspector
|  |  | Pass | Fail
● | m | NRCI-LTO-01-E - Must be submitted for all buildings. | o | o
● | m | NRCI-LTO-02-E- Must be submitted for a lighting control system; or for an Energy Management Control System (EMCS), to be recognized for compliance. | o | o
Table Tip:
Same as LTI form.
Note on A4: Rebecca Rice: 2019 update: Revise link with this one to direct user to 2019 NRCIs
Note on A7: Sally Blair: Both of these NRCI form default to "Yes" but user can change. If user moves to "No" need to include note in Table D.

## P. NRCA
| User input |  |  | auto calculated | From another Table | From look up table
P. DECLARATION OF REQUIRED CERTIFICATES OF ACCEPTANCE
Table Instructions: Selections have been made based on information provided in previous tables of this document. If any selection needs to be changed, please explain why in Table E. Additional Remarks. These documents must be provided to the building inspector during construction and must be completed through an Acceptance Test Technician Certification Provider (ATTCP). For more information visit: http://www.energy.ca.gov/title24/attcp/providers.html
YES | NO | Form/Title | Field Inspector
|  |  | Pass | Fail
● | m | NRCA-LTO-02-A - Must be submitted for all outdoor lighting controls except for alterations where controls area added to < 20 luminaires. | o | o
Table Tip:
Same as LTI form.
Note on B7: Sally Blair: If user moves to "No" need to include note in Table D.