## Table Sequence
Label | Table Title | Trigger within:
Table A | General Information | ALWAYS
Table B | Project Scope | ALWAYS
Table C | Compliance Results | ALWAYS
Table D | Exceptional Conditions | ALWAYS
Table E | Additional Remarks | ALWAYS
Table F | Allocated Solar Zone | Table B
Table G | Permanently Installed Solar Photovoltaic (PV) System | Table B
Table H | Permanently Installed Solar Water Heating System | Table B
Table I | Smart Thermostats and Alternative Efficiency Measure | Table B
Table J | Declaration of Required Certificates of Installation | ALWAYS
Table K | Declaration of Required Certificates of Acceptance | ALWAYS
- | Signature Page | ALWAYS

## Hyperlinks
Label | Hyperlink | Tables
§110.10 | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=130 | Header 1st page, A
§110.10(b) | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=130 | B
§110.10(b)1B | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=131 | B, F, G, H, I, J
§110.12(a) | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=134 | B, I
§150.1(c)8Biii | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=291 | B
Reference Joint Appendix 5 JA5 | https://www.energy.ca.gov/2018publications/CEC-400-2018-021/CEC-400-2018-021-CMF.pdf#page=141 | B
Reference Residential Appendix RA 4 | https://www.energy.ca.gov/2018publications/CEC-400-2018-021/CEC-400-2018-021-CMF.pdf#page=327 | B
§110.10(b)3A | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=132 | F
§110.10(b)3B | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=132 | F
§110.10(c) | https://www.energy.ca.gov/2018publications/CEC-400-2018-020/CEC-400-2018-020-CMF.pdf#page=132 | F
Note on B2: Rebecca Rice: 2019 Update: Use these hyperlinks to update section links throughout form

## Headers
| User input | auto calculated | From another Table |  | From look up table
STATE OF CALIFORNIA
Solar Ready Areas
NRCC-SRA-E (Created (1/20) |  |  |  | CALIFORNIA ENERGY COMMISSION
CERTIFICATE OF COMPLIANCE |  |  |  |  | NRCC-SRA-E
This document is used to demonstrate compliance with mandatory requirements in §110.10 for newly constructed buildings which are either high-rise multifamily ten stories or fewer, hotel/motel ten stories or fewer or all other nonresidential buildings three stories or fewer. It is also used to demonstrate compliance for additions to these building types which add more than 2,000 ft2 of roof area. Alterations or additions of less than 2,000 ft2 of roof area are not required to comply with §110.10.
Project Name: |  |  |  | Report Page: | Page 1 of ??
Project Address: |  |  |  | Date Prepared:
This is a heading. The project name, address and date prepared should be a user input on the first page, but that should populate the heading on all other pages.
STATE OF CALIFORNIA
Solar Ready Areas
NRCC-SRA-E (Created 1/20) |  |  |  | CALIFORNIA ENERGY COMMISSION
CERTIFICATE OF COMPLIANCE |  |  |  |  | NRCC-SRA-E
Project Name: |  |  |  | Report Page: | Page 1 of ??
Project Address: |  |  |  | Date Prepared:
Footer for every page:
CA Building Energy Efficiency Standards - 2016 Nonresidential Compliance: http://www.energy.ca.gov/title24/2019standards
First Page Heading
Heading all other pages

## A. General Info
|  |  | User input |  | auto calculated |  |  | From another Table |  | From look up table
A. GENERAL INFORMATION
01 | Project Location (city) |  |  |  |  | 04 | Building Type |  | Dropdown, see below for list
02 | Climate Zone |  |  | Dropdown, see below for list |  | 05 | Construction Type |  | Dropdown, see below for list
03 | ¨ | Roof is designed for vehicle traffic, parking or for heliport
STOP! Alterations or additions that increase roof area by ≤ 2,000 ft2 are not required to comply with solar ready requirements in §110.10 and do not need to complete this compliance document.
03a | Plan sheet showing roof design for vehicle traffic, parking or heliport exception:
STOP! Roofs designed for vehicle traffic, parking or for heliports are not required to comply with solar ready requirements in §110.10. Document this exception by providing the plan sheet showing the roof design in 03a to the right and completing the signature page.
STOP! Healthcare facilities, Nonresidential buildings greater than three stories, Hotel/Motel buildings greater than 10 stories, High-rise mulitfamily greater than 10 stories, and buildings with total roof area less than or equal to 533ft2 are not required to comply with the requirements of §110.10 and do not need to complete this compliance document.
|  |  |  | Climate Zone Dropdown |  |  |  |  | Building Type Dropdown
|  |  |  | 1 |  |  |  |  | Hotel/Motel 10 stories or fewer
|  |  |  | 2 |  |  |  |  | High-rise multifamily 10 stories or fewer
|  |  |  | 3 |  |  |  |  | Other nonresidential bldg 3 stories or fewer
|  |  |  | 4 |  |  |  |  | Healthcare Facilities
|  |  |  | 5 |  |  |  |  | Building with total roof area < 533 ft2
|  |  |  | 6 |  |  |  |  | All other building types
7
|  |  |  | 8 |  |  |  |  | Construction Type Dropdown
|  |  |  | 9 |  |  |  |  | New Construction
|  |  |  | 10 |  |  |  |  | Addition/ Alteration increases roof area > 2,000 ft2
|  |  |  | 11 |  |  |  |  | Addition/ Alteration increases roof area ≤ 2,000 ft2
12
13
14
15
16
Table Tip:
The NRCC-SRA documents Solar Ready requirements in §110.10 that are applicable to hotel/motel occupancies 10 stories or fewer, high-rise multifamily buildings 10 stories or fewer and other nonresidential buildings three stories or fewer. The Solar Ready requirements do not apply to the following: (1) Hotel/motel or high-rise multifamily building with more than 10 stories, (2) other nonresidential buildings with more than 3 stories, or (3) alterations or additions which add less than or equal to 2,000 ft2 of roof area. When §110.10 does not apply, this compliance document does not need to be completed.
I see that this note is in the current NRCC-SRA-01, but everywhere else in the old form and in the standards only mentions new buildings and additions, not alterations. Except that the standards section on nonres alterations does mention that 110.10 is required "if applicable". It just doesn't say what would make it applicable. Is it correct that both additions and alterations should be considered together for both the requirements and exceptions? This mock-up assumes that the requirements primarily apply to additions with over 2,000 ft2 of added roof, but that if an alteration added over 2,000 ft2 of roof it would be covered, too. It's a bit odd, though. Check with CEC to confirm.
Rows 8&9 show up if column 03 box is checked.
Row 7 shows up if user selects "Addition/Alteration increases roof ≤ 2,000 ft2" in Construction Type dropdown.
Row 10 shows up if "Healthcare facilities", OR "Bldg with total roof area < 533ft2" OR "All other building types" is selected in col 04
Note on A10: Usability Update: Changed language to cover all building types excluded.
Note on K13: 2019 Update: Hotel/Motel or High-rise multifamily options open the Solar Water Heating option in Table B, otherwise it should be greyed out.
Note on J14: Rebecca Rice: If the user selects this High-rise multifamily option, then the smart thermostat + Alternative Energy Efficiency option checkbox should be made available in Table B. Otherwise it should not populate in Table B.
Note on K16: Usability Update: Added Healthcare facility & Bldg w total roof area… options to dropdown. AL 3 highlighted options trigger "STOP!" message in row 10.
Note on K18: Usability Update: Changed text so it doesn't say "nonresidential"

## B. Project Scope
|  | User input |  | auto calculated | From another Table |  | From look up table
B. PROJECT SCOPE
Table Instructions: Select the compliance path the project is using to comply per §110.10(b)1B.
My project consists of (check one):
01
¨ | Provide Solar Ready Area no exceptions |  | The project has allocated a solar zone on the roof plan per requirements in §110.10(b), as documented in Table F. |  |  | << triggers Table F.
¨ | Exception to Solar Ready Area: Installed Solar Photovoltaic System |  | The project includes a permanently installed solar electric system having a nameplate DC power rating, measured under Standard Test Conditions, of no less than one watt per square foot of roof area, as documented in Table G. |  |  | << triggers Table G & NRCI-SPV form in Table J to move to o"Yes" (moves back to No if unselected)
¨ | Exception to Solar Ready Area: Installed Solar Water Heating System |  | The project is a hotel/motel or high-rise multifamily occupancy and includes a permanently installed domestic solar water-heating system complying with §150.1(c)8Biii and Reference Residential Appendix RA4, as documented in Table H. |  |  | << triggers Table H. & NRCI-STH form in Table J to move to o"Yes" (moves back to No if unselected)
¨ | Exception to Solar Ready Area: Smart Thermostat and Alternative Energy Efficiency Measure |  | The project is a high-rise multifamily occupancy where all thermostats in each dwelling unit comply with §110.12(a) AND at least one additional measure listed in Exception 4 to §110.10(b)1B is installed, as documented in Table I. |  |  | << triggers Table I.
Table Tip:
There are four compliance paths to meeting requirements in §110.10 for multifamily, hotel/motel and nonresidential buildings. These paths are outlined in §110.10(b)1B and the path being used for the project should be selected to open the appropriate subsequent table on this compliance document.
Note on B7: Usability Update: Revised text for all four checkboxes to demonstrate Solar Ready Area vs exceptions
Note on A9: 2019 Update: This should only be available if the form user selects the Hotel/Motel or High-rise multifamily options in Table A column 04.
Note on A10: Rebecca Rice: The smart thermostat + EE option checkbox should only be available if the form user selects the high-rise multi-family option on Table A
Note on D10: Usability Update: Revised text to get rid of specifics about EV charging space.

## C. Compliance
|  | User input |  |  |  | auto calculated | [5 empty] | From another Table |  |  | From look up table
C. COMPLIANCE RESULTS
Table Instructions: If any cell on this table says "DOES NOT COMPLY" or "COMPLIES with Exceptional Conditions" refer to Table D. for guidance or see the applicable Table referenced below.
Allocated Solar Zone |  |  | OR | Installed PV System |  |  | OR | Installed SWH System |  |  | OR | Smart Tstat and Alternative EE Measure |  | Compliance Results
01 | < | 02 |  | 03 | < | 04 |  | 05 | < | 06 |  | 07 | 08 | 09
Required Minimum Area (ft2) |  | Designated Area (ft2) |  | Required Minimum DC Power Rating (Watts) |  | Designed DC Power Rating (Watts) |  | Required Minimum Solar Savings Fraction |  | Designed/Rated Solar Savings Fraction |  | JA5 Compliant Thermostat Specified? | Alternative Energy Efficiency Measure | COMPLIES or DOES NOT COMPLY
(See Table F) |  |  |  | (See Table G) |  |  |  | (See Table H) |  |  |  | (See Table I)
0 | < | sum of column 18 for subareas that say "COMPLIES" in column 19 | OR | 0 | < | from Table G, Column 03 | OR |  | < | Table H, column 09 or 10 | OR | YES/NO | Measure from Table I column 02
#VALUE! |  |  | Location in construction documents showing the location for inverters and metering equipment and a pathway for the routing of conduit/ plumbing to the electrical service/ water heating system per §110.10(c). | [10 empty] | COMPLIES or DOES NOT COMPLY or Not Applicable
Tool Tip:
Table C is auto-filled from data found in the rest of the NRCC-SRA, and it may not be directly edited by the form user. Table C compliance results are automatically calculated from data input and calculations in Tables F through I.
Note on N8: 2019 Update: Need to code this column to include Table I, checkbox on line 16
Note on O8: Sally Blair: Compliance depends on the path taken. Here is what would make each path say "COMPLIES" Allocated Solar Zone: If 02 > 01 and all subareas in Table F say "COMPLIES" OR If 01 says "0" and 02 says "NA" Installed PV System: If 04 > 03 Installed SHW System: If 06 > 05 AND Table H column 03 says "Yes" if not greyed out. Smart Tsat + EE Measure: If 07 says "YES" AND 08 is populated. Otherwise this is blank until the user selects a compliance path in Table B. Once the user selects a path, this should say "DOES NOT COMPLY" until one of the criteria above is met.
Note on C10: Sally Blair: If Table F column 19 is greyed out, this says "NA"
Note on I10: Sally Blair: Gray out any of these cells that do not hold a value Usability Update: If the "Drain water heat recovery" box in Table H is unchecked, here are the values for this cell: 0.2 for CZ 1-9 and 0.35 for CZ 10-16 (this did not change from 2016 form). If the "Drain water heat recovery" box in Table H is checked, here are the values for this cell: 0.15 for CZ 1-9 and 0.30 for CZ 10-16
Note on M10: Sally Blair: Says "Yes" if checkbox in Table I is checked and location in contract documents is indicated in Table I.
Note on N10: Sally Blair: Measure is brought in from Table I when checkbox is checked AND location in contract documents is indicated.
Note on A12: Sally Blair: grey out unless Allocated Solar Zone in Table B is checked.
Note on D12: Usability Update: Revised text to be more clear.
Note on O12: Sally Blair: Says "COMPLIES" if sheet # is populated. Says "DOES NOT COMPLY" if Allocated Solar Zone is checked in Table B, but sheet # is left blank. Says "Not Applicable" if Installed PV, Installed SHW or Tstat paths are selected in Table B.

## D. Exceptional Conditions
| User input | auto calculated | From another Table | From look up table
D. EXCEPTIONAL CONDITIONS
This table is auto-filled with uneditable comments because of selections made or data entered in tables throughout the form.
Comment:
The note about making changes in the NRCI table need to show up too just like on LTI. Note Table letters will need to be updated to match this form.
If any of the sub areas in Table F say "Does not comply" then a note should be triggered: "Table F indicates a subarea that is not in compliance with the requirements. Please revisit Table F."
If Table H is triggered and column 03 is not greyed out, but does not say "Yes", this note should be triggered: "Table H column 03 does not indicate the output from CEC's Solar Water Heating Calculator has been attached. Please attach the output and indicate this in Table H."
Table Tip:
Table D is auto-filled with warnings and compliance notes directed to the form user and the enforcement agency based on data inputs and calculations in the rest of the NRCC-SRA. It may not be directly edited by the form user.

## E. Additional Remarks
| User input | auto calculated | From another Table | From look up table
E. ADDITIONAL REMARKS
This table includes remarks made by the permit applicant to the Authority Having Jurisdiction.
Table Tip:
Table E allows user input of additional information to support the compliance documentation.

## F. Allocated Zone
| User input |  |  | auto calculated |  |  | From another Table |  |  |  |  | From look up table
F. ALLOCATED SOLAR ZONE
Table Instructions: Complete this table if the project is designating a solar zone to comply with §110.10(b)1B. For new construction consider total roof area; for additions consider newly added roof area.
Required Minimum Solar Zone
01 | 02 | 03 | 04 |  | 05 |  | 06 |  |  |  | 07 |  | 08
Minimum Solar Zone Area Calculation Method | Total New or Added Roof Area (ft2) | Total New or Added Roof Area Covered with Skylights (ft2) | Minimum Solar Zone Based on Total or Added Roof Area (0.15 x (Roof-Skylt)) (ft2) |  | Method/Tool(s) Used to Determine Annual Solar Access for Potential Zones1 |  | Potential Solar Zone Areas: Roof Areas with ≥ 70% Solar Access |  |  |  | Minimum Solar Zone Based on Potential Zone (0.5 x (Total Potential Zone)) (ft2) |  | Required Minimum Solar Zone Area (ft2)
[7 empty] | Low-Sloped Area (≤ 2:12 pitch) (ft2) |  | Steep-Sloped Area (> 2:12 pitch), Oriented 110° - 270° (ft2) | Total Potential Solar Zone Area (ft2)
See dropdown |  |  | 0 |  | Need to to give enough room for user text |  |  |  |  | 0 | 0
Designated Solar Zone Subareas
09 | 10 | 11 |  | 12 | 13 | 14 |  | 15 |  | 16 | 17 | 18 | 19
Subarea Name or Tag | Building Plan Reference | Roof or Overhang Slope (Low < 2:12 pitch) (Steep > 2:12 pitch) |  | Is Steep-Sloped Roof or Overhang between 110 and 270 degrees? | Subarea Complies with Title 24, Part 9 | Solar Zone Subarea Free of Obstructions per §110.10(b)3A |  | Subarea is Required Distance from Potential Obstructions per §110.10(b)3B |  | Is the Smallest Dimension 5 feet or greater? | Min. Area Required per Subarea (ft2) | Designated Area (ft2) | Subarea Complies?
|  | See dropdown |  | See dropdown | See dropdown | See dropdown |  | See dropdown |  | See dropdown
Total Designated Solar Zone Area (ft2): | [11 empty] | sum of column 18 for subareas that say "COMPLIES" in column 19
[12 empty] | Add Subarea | Remove Last
Interconnection Pathways
Location in construction documents showing the location for inverters and metering equipment and a pathway for the routing of conduit/ plumbing to the electrical service/ water heating system per §110.10(c).
1 FOOTNOTE: This field is used to document how the percentage of annual solar access was determined per §110.10(b)1B. Solar access is the ratio of solar insolation including shade to the solar insolation without shade. Shading from obstructions located on the roof or any other part of the building shall not be included in the determination of annual solar access.
Minimum Solar Zone Area Calculation Method Dropdown |  | Roof/ Overhang Slope dropdown |  | Steep-Sloped Roof or Overhang dropdown | Complies with Title 24, Part 9 dropdown | Solar Zone Free of Obstructions dropdown |  | Solar Zone Distance from Obstructions dropdown |  | The Smallest Dimension dropdown
Total New or Added Roof Area |  | Low-Sloped |  | Yes | Yes | Yes |  | Yes |  | Yes
Potential Solar Zone |  | Steep-Sloped |  | No | No | No |  | No |  | No
Table Tip:
Table F documents the project has designated the minimum area required for the Allocated Solar Zone, and also that the requirements for Solar Zone Subareas have been met. There are two calculation methods for the minimum area required, and Table F adjusts based on the calculation method chosen. Each subarea must be shown on a roof plan or documented in construction documents. The solar zones must also comply with fire code requirements, including, but not limited to, setback and pathway requirements. Current fire code requirements can be found in Title 24 Part 2 §3111, Title 24 Part 2.5 §R331, and Title 24 Part 9 §903.3. Requirements for interconnection pathways must also be included in construction documents, and the location is specified in Table F.
Note on D9: Sally Blair: Columns 03 - 04 open for user input when "Total New or Added Roof Area" is selected in column 01- otherwise, they grey out because they're NA. If the user changes the selection in column 01, this need to update accordingly
Note on M9: Sally Blair: Columns 05-07 open for user input when "Potential Solar Zone" is selected in column 01- otherwise, they grey out because they're NA. If the user changes the selection in column 01, this need to update accordingly.
Note on O9: Sally Blair: Column 04 OR 07 depending on calculation method selected in column 01 -- This value is tranferred to Table C, Column 01 If this value is 0, column 09 - 19 need to grey out.
Note on E12: Sally Blair: This cell is only accessible if user selects "Steep-Sloped" in column 11. Otherwise it is greyed out. Needs to adjust if user changes selection in column 11.
Note on M12: Sally Blair: If column 02 is <= 10,000 ft2, then this = 80 ft2; If column 02 is > 10,000 ft2, then this =160 ft2.
Note on O14: Sally Blair: Says "COMPLIES" if: - column 12 is greyed out - columns 13/14/15 all say "Yes" AND - column 16 input is > 5 AND - column 18 is > column 17 OR - column 12 is not greyed out and has a value between 110-270 input AND - columns 13/14/15 all say "Yes" AND - column 16 input is > 5 AND - column 18 is > column 17 Column 19 goes blank and greys out if column 08 = 0 Otherwise, says DOES NOT COMPLY If any of the sub areas say "Does not comply" then a note should be triggered in Table D about a subarea being out of compliance: "Table F indicates a subarea that is not in compliance with the requirements. Please revisit Table F."
Note on N15: Sally Blair: Transferred to Table C. column 02
Note on K18: Sally Blair: Transfers to Table C Row 12

## G. PV
| User input |  | auto calculated |  | From another Table | From look up table
G. PERMANENTLY INSTALLED SOLAR PHOTOVOLTAIC (PV) SYSTEM
Table Instructions: Complete this table if the project is installing a PV system to comply with §110.10(b)1B Exception 1.
01 | 02 | 03 | 04 | 05
Total Roof Area1 (ft2) | Required Minimum DC Power Rating (Watts) | Designed System DC Power Rating (Watts) | Location in Construction Documents showing PV System/ Components | Field Inspector
|  |  |  | Pass | Fail
| 0 | This value is transferred to Table C, Column 04 |  | o | o
1 FOOTNOTES: Newly Constructed Projects should report total roof area; Additions should report newly added roof area.
Table Tip
Table G documents the size of an installed photovoltaic system, using the DC Power Rating in Watts.
Note on B8: Rebecca Rice: This value is transferred to Table C, Column 03.

## H. SWH_NOT USED (hidden)
|  | User input |  | auto calculated |  | From another Table |  |  | From look up table
H. PERMANENTLY INSTALLED SOLAR HOT WATER SYSTEM
Table Instructions: Complete this table if the project is installing a solar water heating (SWH) system to comply with §110.10(b)1B Exception 2.
¨ | OG-100 Certified Collectors |  | The collectors specified are certified by the Solar Rating and Certification Company (SRCC) as OG-100. | [6 empty] | SRCC #
¨ | OG-300 Certified System |  | The system specified is certified by the Solar Rating and Certification Company (SRCC) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated. | [6 empty] | SRCC #
01 |  | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11
Panel Type |  | Collector Fluid | # of Collectors | Panel Orientation |  | Tank Volume (gal) | Conditioned Floor Area Served (ft2) | # of Residential Units or Hotel/Motel Rooms Served | Designed Solar Savings Fraction for OG-100 | Rated Solar Savings Fraction for OG-300 | Field Inspector
|  | The system specified is certified by the Solar Rating and Certification Company (SRCC) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated. 04: Tilt (deg); The system specified is certified by the Solar Rating and Certification Company (SRCC) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated. 05: Azimuth (deg); SRCC # 11: Pass | Fail
Dropdown See list below |  | 02: Dropdown See list below; SRCC # 11: o | o
Panel Type Dropdown |  | 02: Collector Fluid Dropdown
Model #'s from CEC Panel Database |  | 02: Water
Glycol
Air
Table Tip: | bar: 02 to The system specified is certified by the Solar Rating and Certification Company (SRCC) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated. 06
Depending on whether the project is using OG-100 Certified Collectors or an OG-300 Certified System, the Solar Savings Fraction is either calculated by Table H., or the Rated Solar Savings Fraction is entered. This Solar Savings Fraction (SSF) is transferred to Table C. and compared to the Required Minimum SSF. For OG-100 Certified Collectors, the calculations performed using CEC's T24 Solar Calculator have been built into this table. The T24 Solar Calculator refers to "Solar Fraction", which is the same as the Solar Savings Fraction.
Note on L6: Sally Blair: Gray until associated checkbox on the far left is clicked. Then opens for user input.
Note on J10: Rebecca Rice: Unless this says "NA" Transferred to Table C, Column 6
Note on K10: Sally Blair: Ben. If the user selects OG-100 above, this field turns gray because it's NA. If the user selects OG-300 above, columns 01-09 turn gray and this field is active. Unless this is gray, transfer to Table C, Column 6
Note on B17: Rosemary Howley: Sally, the panel type has two parts in the CEC calculator: the "Model" which is the model name and number, and the "SRCC #". The SRCC# is from the ICC-SRCC directory of OG-100 rated solar panels. See screen shots below. When you pick something from the T24 Solar Calc dropdown for either Model or SRCC#, the other part of the Panel Type description automatically comes up. The T24 solar calculator has a database of maybe 400 panel types with information about them such as collector size that is used in the calculation. I printed out a sample report to give you an idea of what's in there. If you actually want to recreate the calculation here, then I think you'll have to get the database from the CEC. CEC, does it make sense to build the panel type database in the T24 Solar Calculator into the form? I'm thinking yes, can we get the data in the database? Alexis: I emailed Danny to ensure that this was okay to do. He does not think we should incorporate the Solar Calculator into the table because "the programming language behind the calculator is some rare programming language called flat assembler. Additionally, the underlining method is very old and not worth the time to translate." He is trying to get a more up to date and appropriate tool to use. I don't know how you want to proceed... Ben, let's build this table and then wait and see what the CEC can give us as far as database goes.

## H. SWH
|  |  | User input |  |  | auto calculated |  | From another Table | From look up table
H. PERMANENTLY INSTALLED SOLAR HOT WATER SYSTEM
Table Instructions: Complete this table if the project is installing a solar water heating (SWH) system to comply with §110.10(b)1B Exception 2.
¨ | OG-100 Certified Collectors |  |  | The SWH system is built-up and specifies collectors certified by the Solar Rating & Certification Company (SRCC) or the International Association of Plumbing & Mechanical Officials (IAPMO) as OG-100.
¨ | OG-300 Certified System |  |  | The system specified is certified by the Solar Rating and Certification Company (SRCC) or the International Association of Plumbing & Mechanical Officials (IAPMO) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated.
¨ | Drain Water Heat Recovery |  |  | A drain water heat recovery system that is field verified by a HERS Rater as specified in the Reference Appendix RA3.6.9 is being used to lower the required Solar Savings Fraction per §150.1(c)8Biii(b).
01 |  | 02 | 03 | 04 | 05 | 06
SRCC # or IAPMO File # |  | Certification # | Designed Solar Savings Fraction for OG-100 | Output from CEC's T24 SWH Calculator Attached1 | Rated Solar Savings Fraction for OG-300 | Field Inspector
[6 empty] | Pass | Fail
Dropdown See list below |  |  |  | Dropdown See list below |  | o | o
1 FOOTNOTES: Built-up SWH systems using OG-100 collectors must calculate the Designed Solar Savings Fraction using the CEC's T24 Solar Water Heating Calculator. The calculator can be accessed online at http://www.energy.ca.gov/title24/2016standards/worksheets/2016_Title-24_Solar_Water_Heating_Calc.zip. The calculation output must be included within the permit application.
SRCC # or IAPMO File # dropdown |  |  |  | Dropdown for Output
SRCC # |  |  |  | Yes
IAPMO File #
Table Tip:
Depending on whether the project is using OG-100 Certified Collectors or an OG-300 Certified System, the Solar Savings Fraction is either calculated by the CEC's T24 Solar Water Heating Calculator, or the Rated Solar Savings Fraction is entered. This Solar Savings Fraction (SSF) is transferred to Table C. and compared to the Required Minimum SSF. For OG-100 Certified Collectors, use the CEC's T24 Solar Water Heating Calculator. Note the T24 Solar Water Heating Calculator refers to "Solar Fraction", which is the same as the Solar Savings Fraction.
Note on A7: Usability Update: This is a new row in Table H. This box needs to be able to be checked at the same time as either OG-100 or OG-300. It also updates the required SSF in Table C column 05.
Note on I9: Sally Blair: Either column 02 or column 04 transfers to Table C column 06- depending on which is not greyed out and holds a value.
Note on D11: Sally Blair: grays out and does not allow input if OG-300 is selected above. Same with column 03
Note on F11: Sally Blair: grays out and does not allow input if OG-100 is selected above.

## I. Tstat+EE
|  | User input |  | auto calculated | From another Table | From look up table
I. SMART THERMOSTATS AND ALTERNATIVE EFFICIENCY MEASURE
Table Instructions: High-rise multifamily occupancies may comply with Exception 4 to §110.10(b)1B if all thermostats in each dwelling unit comply with Reference Joint Appendix JA5 and are capable of receiving and responding to demand response signals AND at least one additional energy efficiency measure listed in Exception 4 is installed. Please confirm JA5 compliant thermostats have been specified and indicate which additional energy efficiency measure has been included in the design.
01
Smart Thermostats
¨ | The contract documents clearly specify that all thermostats in each dwelling unit comply with §110.12(a) prior to granting of an occupancy permit by the enforcing agency.
Location in contract documents:
02
Alternative Efficiency Measure
In addition, my project consists of (check at least one):
¨ | Energy Star Appliances and EC Motor |  | The contract documents include an ENERGY STAR dishwasher AND EITHER an ENERGY STAR refrigerator OR a whole house fan driven by an electronically commutated motor.
¨ | Home Automation System |  | The contract documents include a home automation system that is capable of, at a minimum, controlling the appliances and lighting of the dwelling and responding to demand response signals.
¨ | Greywater irrigation system |  | The contract documents include alternative plumbing piping to permit the discharge from the clothes washer and all showers and bathtubs to be used for an irrigation system in compliance with the California Plumbing Code and any applicable local ordinances.
¨ | Rainwater Catchment System |  | The contract documents include a rainwater catchment system designed to comply with the California Plumbing Code and any applicable local ordinances, and that uses rainwater flowing from at least 65% of the available roof area.
¨ | Part 11: Electric Vehicle Charging Space |  | The contract documents demonstrate compliance with Title 24, Part 11, §A4.106.8.2 requirements for electric vehicle charging spaces.
Location in contract documents:
Table Tip:
There are four compliance paths to meeting requirements in §110.10 for multifamily, hotel/motel and nonresidential buildings. These paths are outlined in §110.10(b)1B and the path being used for the project should be selected to open the appropriate subsequent table on this compliance document.
Note on A7: Sally Blair: when this box is checked AND the location in contract documents is indicated, Table C column 07 turns to "YES". It turns to "NO" if unchecked OR if the location in contract documents is blank.
Note on B12: Sally Blair: Depending on which box they check, this EE measure "name" will show up in Table C column 08.
Note on B16: Usability Update: Revised language in this whole row to reference Part 11 instead of implying requiring a space.
Note on D16: 2019 Update: Add logic so this can get picked up in Table C, column 08 if checked here. Also hyperlink to the code section.

## J. NRCI
| User input |  |  | auto calculated | From another Table | From look up table
J. DECLARATION OF REQUIRED CERTIFICATES OF INSTALLATION
Table Instructions: Selections have been made based on information provided in previous tables of this document. If any selection needs to be changed, please explain why in Table E. Additional Remarks. These documents must be provided to the building inspector during construction and can be found online at https://www.energy.ca.gov/title24/2019standards/2019_compliance_documents/Nonresidential_Documents/NRCI/
YES | NO | Form/Title | Field Inspector
|  |  | Pass | Fail
m | ● | NRCI-SPV-01-E - Must be submitted for all newly installed Photovoltaic Systems (PV) being used to comply with §110.10(b)1B for high-rise multifamily, Hotel/Motel buildings less than 10 stories and nonresidential buildings less than 4 stories. | o | o
m | ● | NRCI-STH-01-E - Must be submitted for all newly installed Solar Water Heating systems being used to comply with §110.10(b)1B for high-rise multifamily, Hotel/Motel buildings less than 10 stories and nonresidential buildings less than 4 stories. | o | o
Table Tip:
Same as LTI form.
Note on B7: Sally Blair: This form defaults to "No", but changes to Yes if Table G is triggered. It moves back to "No" if Table G minimizes.
Note on B8: Sally Blair: This form defaults to "No", but changes to "Yes" if Table H is triggered. It moves back to "No" if Table H minimizes. These are editable like the other forms, but if the user changes from what the form thinks is right, the note needs to pop up in Table D.

## K. NRCA
| User input | auto calculated | From another Table | From look up table
K. DECLARATION OF REQUIRED CERTIFICATES OF ACCEPTANCE
There are no Certificates of Acceptance applicable to solar ready requirements.
Table Tip:
No table tip for this table.