## Headers
| comes from NRCC | calculated | user entry
First Page Header:
CERTIFICATE OF INSTALLATION |  | NRCI-LTO-E
This Certificate of Installation documents the installation of outdoor lighting features, materials, components, and manufactured devices required to demonstrate compliance with Title 24, Part 6 per §10-103(a)3 for nonresidential, hotel/motel and high-rise residential occupancies. |  |  |  | < language from 10-103(a)3
Project Name: | comes from NRCC | Report Page: | comes from report generator
Project Address: | comes from NRCC | Date Prepared: | comes from report generator
Header for all other pages:
CERTIFICATE OF INSTALLATION |  | NRCI-LTO-E
Project Name: | comes from NRCC | Report Page: | comes from report generator
Project Address: | comes from NRCC | Date Prepared: | comes from report generator

## Table A. General
A. GENERAL INFORMATION
01 | Project Location (city): | A01_ProjectCity | 05 | Authority Having Jurisdiction:
02 | Zip Code: | A02_Zipcode | 06 | Building Permit #:
03 | Date of Permit Set used for construction: |  | 07 | Date of As-built Set:
04 | Name of Permit Set used for construction: |  | 08 | Name of As-built Set:

## Table B. Scope
B. INSTALLER SCOPE
This table indicates construction systems and materials documented on this Nonresidential Certificate of Installation.
01 |  | 02
□ | Luminaires | □ | Controls
Note on A5: Ben Lalor: This triggers the following subtable: -Fixture Table
Note on C5: Sally Blair: This triggers the following subtable: -Outdoor Lighting Controls

## Table C. Compliance
C. COMPLIANCE RESULTS
This table indicates whether the as-built conditions documented in this form are equal or better than what was documented on the permitted Certificate of Compliance (NRCC). If the installation is not equal or better, Section 10-103(a)2B requires the NRCC to be revised accordingly to demonstrate compliance.
01 | INSTALLED FEATURES EXACTLY MATCH DESIGN ON PERMITTED CERTIFICATE OF COMPLIANCE
Documented as-built conditions should be verified by inspector from Authority Having Jurisdiction to comply.
The Certificate of Compliance should be revised to confirm as-built conditions comply and this Certificate of Installation updated accordingly.
Note on B4: Sally Blair: -IF ANY assemblies/equipment compliance columns in ANY subtables triggered say "INCOMPLETE", this says "FORM NOT COMPLETE" OR - IF ALL assemblies/equipment compliance columns in ALL subtables triggered say "INSTALLED FEATURES EXACTLY MATCH PERMITTED CERTIFICATE OF COMPLIANCE", that is what is shown here. OR - IF ANY assemblies/equipment compliance columns in ANY subtables triggered say "INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED CERTIFICATE OF COMPLIANCE REVISED", that is what is shown here. ELSE - this field says "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE"
Note on A5: Sally Blair: Excel Row 5 triggered if "INSTALLED FEATURES EXACTLY MATCH PERMITTED CERTIFICATE OF COMPLIANCE" OR "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE" is triggered in 01.
Note on A6: Sally Blair: Excel Row 6 triggered if "INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED CERTIFICATE OF COMPLIANCE REVISED" is triggered in 01.

## Table D. Exceptional Conditions
D. EXCEPTIONAL CONDITIONS
This table is auto-filled with uneditable comments because of field conditions noted by the installer that may impact requirements documented on the Certificate of Compliance.
Remarks below are triggered from other tables in the NRCI Form and are not editable by the user.
Control requirements on the Outdoor Lighting Controls subtable do not match what was permtted on the Certificate of Compliance. Please verify installation meets controls requirements.
Note on A8: 4.14.21 This triggers if any of the controls in the Outdoor Lighting Controls sub-table do not match the NRCC controls

## Table E. Notes
D. INSTALLER NOTES
This table includes remarks made by the installer to the Authority Having Jurisdiction.

## Table F. Install Details
F. INSTALLATION DETAILS
The following tables indicate performance requirements as documented on the permitted Certificate of Compliance (NRCC) for all systems and components included in Table B. Installer Scope. Also indicated are the as-built conditions documented by the installer/ documentation author.
After this table heading, the appropriate Table F "Subtables" from the other tabs would appear based on what scope the installer is completing the form for.
Example, if they are completing the form for installing lighitng fixtures, subtable on the "F.Fixtures" tab would appear here.

## F. Fixtures
|  |  |  | From NRCC |  |  | user Input |  |  | Calculated
Outdoor Lighting Fixture Schedule
01 |  | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09
Name or Item Tag |  | Fixture Within Scope? | Luminaire Description | Fixture Type | Rated Wattage per Luminaire1 | Total Number of Luminaires | Total Watts | Outdoor Luminaire ≥ 6,200 Lumens | Fixture Compliance
Per NRCC | F01_LuminaireName | dropdown | F02_LuminaireDescription | F02a_IsLuminaireLinear | F03_LuminairePower F03_LuminaireWattsPerLF | F05_LuminaireCountByType F05_LuminairesTotalLF | F08_LuminairePowerByType F08_NotApplicableMessage | F09_LuminairePowerCutoffCompliance F09_NotApplicableMessage
As-built Conditions |  | 04: dropdown; 07: equals col 05 * col 06; 08: dropdown
1 For linear luminaires, wattage is in W/lf instead of Watts/luminaire. Total linear feet for the luminaire is indicated in column 06 instead of number of luminaires.
|  | Scope Dropdown |  | Type Dropdown |  |  |  | Lumens Dropdown
|  | Yes |  | Linear |  |  |  | Yes
|  | No, by others |  | Non-linear |  |  |  | NA: <6,200 lumens
NA: Ltg Zone LZ-0
NA: Signage
NA: Façade, monument, statue, bridge
NA: Not permitted by H&LS
NA: Temporary lighting
NA: Replacement of pole-mounted per §130.2(b)
NA: Illuminate public right-of-way
NA: Controlled by dwelling unit/guest rm
Note on E6: Sally Blair: - Linear (from NRCC-LTO Table F col02 (grey/blank if not linear in NRCC)
Note on C7: 4.13.21: If the contractor tells us this fixture is not within their scope, columns 03-09 are grey and blank.
Note on J7: 4.13.21 If: 02 = "No", that row greyes out every cell other than 02 and is not included in the compliance logic for 09 If: All required fields are not complete 09 = "INCOMPLETE" Else if: 03-08 per NRCC match 03-08 as-built 09 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC" Else if: 07NCCC >= 07as-built 09 ="INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED NRCC" Else If: 07NCCC < 07as-built 09 = "INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED NRCC REVISED"
Note on I12: Sally Blair: Triggers BUG subtable
Note on I15: Sally Blair: Adding these new options in pink to NRCI. With 2022 updates to NRCC, will get rid of "Exempt*" and replace with these new options.

## F. BUG
|  | From NRCC |  |  | user Input |  |  | Calculated
CUTOFF REQUIREMENTS (BUG)
|  |  | Backlight |  | Uplight | Glare
01 |  | 02 | 03 | 04 | 05 | 06 | 07 | 08
Name or Item Tag |  | Luminaire Description | Mounting Height from Property Line | Backlight Rating | Uplight Rating | Mounting Height from Property Line | Glare Rating | Fixture Compliance
Per NRCC | G01_LuminaireName | G02_LuminaireDescription | G03_MountingHeightRangeBUG | G05_BackLightRatingBUG | G08_UpLightRatingBUG | G03_MountingHeightRangeBUG | G11_GlareRatingBUG
As-built Conditions |  | G02_LuminaireDescription | dropdown | dropdown | dropdown | dropdown | dropdown
|  |  | MH Dropdown | Backlight Dropdown | Uplight Dropdown | MH Dropdown | Glare Dropdown
|  |  | > 2 MH from property line | B0 | U0 | > 2 MH from property line | G0
|  |  | Back hemisphere 1-2 MH from prop line | B1 | U1 | Front hemisphere 1-2 MH from prop line | G1
|  |  | Back hemisphere 0.5-1 MH from prop line | B2 | U2 | Front hemisphere 0.5-1 MH from prop line | G2
|  |  | Back hemisphere < 0.5 MH from prop line | B3 | U3 | Back hemisphere < 0.5 MH from prop line | G3
|  |  |  | B4 | U4 |  | G4
Note on A4: 4.13.21 If 08 of the fixture table as-built row = "Yes" this table triggers
Note on I8: 4.13.21 If: All required fields are not complete 08 = "INCOMPLETE" Else if: 03-07 per NRCC match 03-07 as-built 08 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC" Else if: 04-07 NRCC >= 04-07 as-built AND 03 NRCC<= 03 as-built 08 ="INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED NRCC" " Else If: 04-07 NRCC < 04-07 as-built OR 03 NRCC> 03 as-built 08 = "INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED NRCC REVISED" Key to greater than or less than ratings: Ratings with lower numbers < ratings with higher numbers. For example if as-built backlight rating = B3 and per NRCC = B1, B1 <B3 so 06 = "INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED NRCC REVISED" For mounting height its the opposite If mounting height per NRCC says 2 and as-built says .5 then per NRCC>as-built so "MAY NOT COMPLY"

## F. Controls
|  |  |  | From NRCC |  | user Input | Calculated
Outdoor Lighting Controls
01 |  | 02 | 03 | 04 | 05
Area Description |  | Shut-Off | Auto-Schedule | Motion Sensor | Controls Compliance
Per NRCC | H01_SpaceDescription | H02_ShutOffControlsOutdoors | H03_AutoScheduleControlsOutdoors | H04_MotionSensorCompliance
As-built Conditions |  | dropdown | dropdown | dropdown
|  | Shutoff Dropdown | Auto-Schedule Dropdown | Motion Sensor Dropdown
|  | Photocontrol | Yes | Yes
|  | Astronomical Timer | Yes-EMCS | NA: Façade, etc. > 24ft
|  | NA: Not permitted by H&LS | NA: Not permitted by H&LS | NA: Wall > 24ft
|  | NA: Lighting in Tunnels | NA: Lighting in Tunnels | NA: Not permitted by H&LS
NA: Lighting in Tunnels
NA: Each Luminaires < 40 Watts
NA: Temporary Lighting
NA: Regulated by FAA or Coast Guard
NA: Lighting for Public Roadways
NA: Athletic Fields/Playground Lighting
Diane - all pink terms map to "Exempt" display term in NRCC |  |  |  | NA: Industrial Sites Lighting
NA: Public Monument Lighting
NA: Sign Lighting
NA: Landscape Lighting
NA: Stairs, Wheelchair Lift/Ramp Lighting
NA: Theme Park Special Effect Lighting
NA: Historical Building Lighting
Note on F7: 4.14.21 If: All required fields are not complete 05 = "INCOMPLETE" Else if: 02-04NRCC match 02-04as-built 05 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC" Else if: 02-04NRCC do not match 02-04as-built 05 ="INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED NRCC" "

## G. Acc. Tests
G. ACCEPTANCE TESTS & FIELD VERIFICATION
The following Acceptance Tests related to the systems or materials documented on this NRCI have been indicated on the permitted Certificate of Compliance (NRCC) as being required to comply with Title 24, Part 6.
Form/Title | System to be Field Verified
Certificates of Acceptance
Lighting Acceptance Tests must be completed by a certified Acceptance Testing Technician and NRCA forms completed through an approved Acceptance Test Technician Certification Provider database. The Certificate of Acceptance (NRCA) forms indicated below will be required by the Authority Having Jurisdiction to demonstrate compliance.
NRCA-LTO-02-A : Outdoor Lighting Control- Must be submitted for all new, added or altered shut-off lighting controls | U01_SystemFieldVerified | << triggered if indicated as required on the NRCC
There are no Acceptance Tests indicated on the permitted NRCC related to the systems or materials documented on this NRCI. |  | << triggered if no other rows in this table are triggered.
A copy of this Certificate of Installation should be distributed to the certified Acceptance Test Technician(s) who will perform the acceptance test(s). Title 24, Part 6 Section 10-103(a)3F also requires this Certificate of Installation be posted or made available to the Authority Having Jurisdiction for all applicable inspections.
Note on A1: Ben Lalor: This table triggers if NRCC has at least one form that says "Yes"
Note on A9: Sally Blair: This is a static field that is always on this table.