## Headers
| comes from NRCC | calculated | user entry
First Page Header:
CERTIFICATE OF INSTALLATION |  | NRCI-SRA-E
This Certificate of Installation documents the installation of solar ready features, materials, components, and manufactured devices required to demonstrate compliance with Title 24, Part 6 per §10-103(a)3 for nonresidential, hotel/motel and high-rise residential occupancies. |  |  |  | < language from 10-103(a)3
Project Name: | comes from NRCC | Report Page: | comes from report generator
Project Address: | comes from NRCC | Date Prepared: | comes from report generator
Header for all other pages:
CERTIFICATE OF INSTALLATION |  | NRCI-SRA-E
Project Name: | comes from NRCC | Report Page: | comes from report generator
Project Address: | comes from NRCC | Date Prepared: | comes from report generator

## Table A. General
A. GENERAL INFORMATION
01 | Project Location (city): | A01_ProjectCity | 05 | Authority Having Jurisdiction:
02 | Zip Code: | A02_Zipcode | 06 | Building Permit #:
03 | Date of Permit Set used for construction: |  | 07 | Date of As-built Set:
04 | Name of Permit Set used for construction: |  | 08 | Name of As-built Set:

## Table B. Scope
B. INSTALLER SCOPE
This table indicates construction systems and materials documented on this Nonresidential Certificate of Installation.
01
□ | Allocated Zone | □ | Photovoltaics | □ | Solar Water Heater | □ | Smart Thermostat
□ | Home Automation System | □ | Greywater Irrigation | □ | Rainwater Catchment System | □ | Electric Vehicle Charging Space
This table is for the inspector to be able to see quickly what has been documented on this form. Intention is one form per installer, so if a different installer is doing smart thermostat vs. Rainwater Catchment System, this will show what is being documented.
Note on B5: Sally Blair: We need to think of something else, that would cover the contractor scope to trigger the allocated zone. Roof or GC? Keeping the zone clear of obstructions feels like GC to me, since it involves mechanical and plumbing.

## Table C. Compliance
C. COMPLIANCE RESULTS
This table indicates whether the as-built conditions documented in this form are equal or better than what was documented on the permitted Certificate of Compliance. If the installation is not equal or better, Section 10-103(a)2B requires the Certificate of Compliance form to be revised accordingly to demonstrate compliance.
01 | INSTALLED FEATURES EXACTLY MATCH DESIGN ON PERMITTED CERTIFICATE OF COMPLIANCE
Documented as-built conditions should be verified by inspector from Authority Having Jurisdiction to comply.
The Certificate of Compliance should be revised to confirm as-built conditions comply and this Certificate of Installation updated accordingly.
Note on B4: Sally Blair: -IF ANY assemblies/equipment compliance columns in ANY subtables triggered say "INCOMPLETE", this says "FORM NOT COMPLETE" OR - IF ALL assemblies/equipment compliance columns in ALL subtables triggered say "INSTALLED FEATURES EXACTLY MATCH PERMITTED CERTIFICATE OF COMPLIANCE", that is what is shown here. OR - IF ANY assemblies/equipment compliance columns in ANY subtables triggered say "INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED CERTIFICATE OF COMPLIANCE REVISED", that is what is shown here. ELSE - this field says "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE"
Note on A5: Sally Blair: Excel Row 5 triggered if "INSTALLED FEATURES EXACTLY MATCH PERMITTED CERTIFICATE OF COMPLIANCE" OR "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE" is triggered in 01.
Note on A6: Sally Blair: Excel Row 6 triggered if "INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED CERTIFICATE OF COMPLIANCE REVISED" is triggered in 01.

## Table D Exceptional Conditions
D. EXCEPTIONAL CONDITIONS
This table is auto-filled with uneditable comments because of field conditions noted by the installer that may impact requirements documented on the Certificate of Compliance.
Remarks below are triggered from other tables in the NRCI Form and are not editable by the user.
No exceptional condition notes for NRCI SRA

## Table E. Notes
E. INSTALLER NOTES
This table includes remarks made by the installer to the Authority Having Jurisdiction.

## Table F. Install Details
F. INSTALLATION DETAILS
The following tables indicate performance requirements as documented on the permitted Certificate of Compliance (NRCC) for all systems and components included in Table B. Installer Scope. Also indicated are the as-built conditions documented by the installer/ documentation author.
After this table heading, the appropriate Table F "Subtables" from the other tabs would appear based on what scope the installer is completing the form for.
Example, if they are completing the form for installing a solar PV system, subtable on the "F.PV" tab would appear here.

## F. Allocated Zone
|  |  |  | From NRCC | user Input | Calculated
Allocated Solar Zone on Roof for Future Use
01 |  | 02 | 03 | 04
Subarea Name |  | Building Plan Reference Showing Solar Zone | Solar Zone Free from Obstructions?1 | Solar Zone Compliance
Per NRCC | F09_SolarZoneSubAreaID | F10_BuildingPlanName | F14_IsSolarZoneSubAreaObstructionsFree
As-built Conditions |  |  | dropdown
1 FOOTNOTE: No obstructions, including but not limited to, vents, chimneys, architectural features, and roof mounted equipment, shall be located in the solar zone.
Solar Zone Free of Obstructions dropdown
Yes
Gina, who would complete this? The GC? The roofer?
Note on E8: 4.16.21 If: All fields are not complete 04 = "INCOMPLETE" Else if: 03 per NRCC match 03 as-built 04 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC"

## F. PV
| From NRCC |  | user Input | Calculated
Permanently Installed Solar Photovoltaic (PV) System
01 |  | 02
Installed DC Power Rating (Watts) |  | PV Compliance
Per NRCC | G03_PV_SystemTotalRatedPowerDC
As-built Conditions
Note on C7: 4.16.21 If: All fields are not complete 02 = "INCOMPLETE" Else If: 01NRCC = 01as-built 02 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC" Else If: 01NRCC < 01as-built 02 = "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE" Else: 01NRCC > 01as-built 02 ="INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED CERTIFICATE OF COMPLIANCE REVISED"

## F. SWH
[7 empty] | user Input | Calculated
Permanently Installed Solar Hot Water System
01 |  | 02 | 03 | 04 | 05 | 06
SRCC # or IAPMO File # |  | Certification Number | System Type1,2 | Solar Savings Fraction | Drainwater Heat Recovery | SHW Compliance
Per NRCC | H01_SolarWaterHeatingCertificationAuthority | H02_SolarWaterSystemSRCC_CertificationNumber H02_SolarWaterSystemIAPMO_FileNumber | H00a_IsSolarWaterHeatingOG100 H00b_IsSolarWaterHeatingOG300 | H03_SolarSavingsFractionOG100 H03_NotApplicableMessage H05_SolarSavingsFractionOG300 H05_NotApplicableMessage | H00c_IsDWHR_Installed
As-built Conditions | dropdown |  | dropdown
1 FOOTNOTE: The SWH system is built-up and specifies collectors certified by the Solar Rating & Certification Company (SRCC) or the International Association of Plumbing & Mechanical Officials (IAPMO) as OG-100.
2 The system specified is certified by the Solar Rating and Certification Company (SRCC) or the International Association of Plumbing & Mechanical Officials (IAPMO) as OG-300 and will be installed in the exact configuration and California climate zone for which it was rated.
| SRCC # or IAPMO File # dropdown |  | System Type Dropdown
| SRCC # |  | OG-100
| IAPMO File # |  | OG-300
Note on F7: Sally Blair: If Drainwater heat recovery in NRCC-SRA Table H is true, the following static message populates here, otherwise this is blank and grey. "A drain water heat recovery system that is field verified by a HERS Rater as specified in the Title 24, Part 6 Reference Appendix RA3.6.9 is being used to lower the required Solar Savings Fraction and must be installed and HERS verified."
Note on G7: 4.16.21 If: All fields are not complete 06 = "INCOMPLETE" Else If: 01-04 per NRCC match 01-04 as-built 06 = "INSTALLED FEATURES EXACTLY MATCH PERMITTED NRCC" Else If: 04 per NRCC <= 04 per as-built 06 = "INSTALLED FEATURES EQUAL OR BETTER THAN PERMITTED CERTIFICATE OF COMPLIANCE" Else if: 04 per NRCC > 04 per as-built 06 ="INSTALLED FEATURES MAY NOT COMPLY UNLESS PERMITTED CERTIFICATE OF COMPLIANCE REVISED"

## F. ST and AEM
|  |  | From NRCC | user Input | Calculated
Smart Thermostats and Additional Efficiency Measure in High-rise Residential Dwelling Units
The following requirements have been included on the permitted Certificate of Compliance (NRCC) to comply with Title 24, Part 6. Installations shall meet these requirements or the Certificate of Compliance shall be modified to demonstrate compliance.
All thermostats in each dwelling unit comply with the following requirements from Title 24, Part 6 §110.12(a) and all requirements in Joint Appendix 5: 1. All demand responsive controls shall be either: |  | << triggers if "Exception to Solar Ready Area: Smart Thermostat and Alternative Energy Efficiency Measure" true in NRCC-SRA Table B
A. A certified OpenADR 2.0a or OpenADR 2.0b Virtual End Node (VEN), as specified under Clause 11, Conformance, in the applicable OpenADR 2.0 Specification; or
B. Certified by the manufacturer as being capable of responding to a demand response signal from a certified OpenADR 2.0b Virtual End Node by automatically implementing the control functions requested by the Virtual End Node for the equipment it controls.
2. All demand responsive controls shall be capable of communicating using one or more of the following: Wi-Fi, ZigBee, BACnet, Ethernet, or hard-wiring. 3. Demand responsive controls may incorporate and use additional protocols beyond those specified in Sections 110.12(a)1 and 2. 4. When communications are disabled or unavailable, all demand responsive controls shall continue to perform all other control functions provided by the control.
Dwelling units include an ENERGY STAR dishwasher AND EITHER an ENERGY STAR refrigerator OR a whole house fan driven by an electronically commutated motor. |  | << triggers if "Energy Star Appliances and EC Motor" true in NRCC-SRA Table I
Dwelling units include a home automation system that is capable of, at a minimum, controlling the appliances and lighting of the dwelling and responding to demand response signals. |  | << triggers if "Home Automation System" true in NRCC-SRA Table I
Dwelling units include alternative plumbing piping to permit the discharge from the clothes washer and all showers and bathtubs to be used for an irrigation system in compliance with the California Plumbing Code and any applicable local ordinances. |  | << triggers if "Greywater Irrigation System" true in NRCC-SRA Table I
Dwelling units include a rainwater catchment system designed to comply with the California Plumbing Code and any applicable local ordinances, and that uses rainwater flowing from at least 65% of the available roof area. |  | << triggers if "Rainwater Cachment System" true in NRCC-SRA Table I
Project complies with Title 24, Part 11, §A4.106.8.2 requirements for electric vehicle charging spaces. |  | << triggers if "Part 11: Electric Vehicle Parking Space" true in NRCC-SRA Table I